{"text_format":"3","workbook":"xls","n_sheets":9,"sheets":["Information","Calibration_data","Results","calculation","Effusion_run1","Effusion_run2","Calibration_Plot","Plot_runs","Module1"],"not_rendered":{"charts":2,"macros":1,"external_links":1,"defined_names":12,"comments":2},"unopened":[{"sheet":"Calibration_Plot","index":6,"reason":"not_a_worksheet"},{"sheet":"Plot_runs","index":7,"reason":"not_a_worksheet"},{"sheet":"Module1","index":8,"reason":"not_a_worksheet"}],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Information","index":0,"n_rows":19,"n_cols":3,"rows_kept":19,"flags":["formulas_cached_only"]}
[]
[]
[]
[]
[]
[null,null,"PCHEM  EFFUSION.XLT    JCB Jan 98, new version using Wpolyfit Apr 2001"]
[null,null,"This spreadsheet is designed to help in the analysis of the data obtained for studying the low pressure"]
[null,null,"effusion of a gas."]
[null,null,"-1) In the sheet Calibration_data, enter your Pirani gauge calibration data in the indicated spaces "]
[null,null,"    ( height of the MaCleod gauge mercury column, h in mm, and corresponding voltage reading of the Pirani gauge)."]
[null,null,"    Make sure that the voltage unit used (mv or V) are indicated and are the same for the calibration and for the runs."]
[null,null,"    In the same sheet, enter your name and the order of the polynomial to be used to fit the calibration data "]
[null,null,"    (this last parameter may be changed later if the first choice is inadequate). The calibration parameters "]
[null,null,"    may be found in the sheet Calibration. The corresponding plot is displayed in the sheet Calibration_Plot."]
[null,null,"-2) The effusion data are entered in the sheets Effusion_run1and Effusion_run2 The results of the fit are"]
[null,null,"     shown in the same sheet and also on the graph Plot_runs. Note the entries labelled \"max time to use\" and \"Pinf\"."]
[null,null,"    The first one allows one to limit the fitting range from time \"zero\" to \"max time\"; if this parameter is set to zero,"]
[null,null,"    the whole time range will be used during the fit. The entry \"Pinf\" is the value of the pressure at \"infinite time\", i.e. the"]
[null,null,"    residual pressure in the line when the effusion is completed."]

{"sheet":"Calibration_data","index":1,"n_rows":31,"n_cols":16,"rows_kept":31,"flags":["formulas_cached_only"]}
["  ENTER order to be used for polynomial fit of the calibration data (max. order 6)."]
[1]
[]
[null,"<-- McCleod Gauge constant (mT mm-2)"]
[null,null,"Point #1","Point #2","Point #3","Point #4","Point #5","Point #6","Point #7","Point #8","Point #9","Point #10","Point #11","Point #12","Point #13","Point #14"]
["ENTER McCleod gauge reading","h/mm -->"]
["ENTER voltage units (mV or  V)  ",null,null,"Highest pressure","  --------------------->",null," Lowest  pressure"]
[null,"ENTER   recorded -->"]
[]
["ENTER "]
[]
["2010-04-25"]
[]
["25 Apr 2010  "]
{"$rows_empty":14}
["unit factor",1000,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
[null,"h/mm --->","","","","","","","","","","","","","",""]
["Error  on mm readings",1]

{"sheet":"Results","index":2,"n_rows":14,"n_cols":9,"rows_kept":14,"flags":["formulas_cached_only"]}
[]
[]
[null,null,"Calibration curve"]
[null,null,"P/mT = a0 +  a1*V + a2*V 2 + …+ a6*V 6    (V in Volts)"]
[]
[null,"Coeff.","a0 ","a1","a2","a3","a4","a5","a6"]
[null,"Value",{"v":0,"d":"0.0000E+00"},{"v":0,"d":"0.0000E+00"},{"v":0,"d":"0.0000E+00"},{"v":0,"d":"0.0000E+00"},{"v":0,"d":"0.0000E+00"},{"v":0,"d":"0.0000E+00"},{"v":0,"d":"0.0000E+00"}]
[null,"+/-",{"v":0,"d":"0.0000E+00"},{"v":0,"d":"0.0000E+00"},{"v":0,"d":"0.0000E+00"},{"v":0,"d":"0.0000E+00"},{"v":0,"d":"0.0000E+00"},{"v":0,"d":"0.0000E+00"},{"v":0,"d":"0.0000E+00"}]
[null,"Coeff. units","mT","mT V -1 ","mT V -2","mT V -3","mT V -4","mT V -5","mT V -6"]
[]
[null,null,"Effusion runs"]
[null,null,"Slope/s-1 ","+/-","Ln( P0 - Pinf )","+/-"]
[null,"Run1",{"$error":"#VALUE!"},{"$error":"#VALUE!"},{"$error":"#VALUE!"},{"$error":"#VALUE!"}]
[null,"Run2",{"$error":"#VALUE!"},{"$error":"#VALUE!"},{"$error":"#VALUE!"},{"$error":"#VALUE!"}]

{"sheet":"calculation","index":3,"n_rows":24,"n_cols":14,"rows_kept":24,"flags":["formulas_cached_only"]}
["Do Not Touch this sheet",{"$nulls":9},"Data for the calibration plot"]
[{"$nulls":9},"Vmin",0,null,"Polynomial of order 1"]
[{"$nulls":6},"Pointers to ranges",null,null,"Fract over",0.05,null,"Std Dev Fit  = 0.00000"]
[{"$nulls":5},"sheet","calculation!",null,null,"Vmax",0,null,"Pirani gauge reading / "]
[{"$nulls":3},"order",1,"Range for fit","1st cell","last cell",null,"#points",15,null,"Pressure/mT"]
[{"$nulls":3},"#points",0,"V range","calculation!$B$9","calculation!$B$8",null,"Increment",0,null,"sqr2",1.4142135623730951]
[null,"Pirani",{"$nulls":3},"P range","calculation!$C$9","calculation!$C$8",{"$nulls":3},"Calc."]
["h/mm","V","P/mT","+/-",null,"errP range","calculation!$D$9","calculation!$D$8",null,null,"Volt","P/mT"]
["",{"v":0,"d":"0.00000"},"","",{"$nulls":6},{"v":0,"d":"0.0000"},{"v":0,"d":"0.00"}]
["",{"v":0,"d":"0.00000"},"","",{"$nulls":6},{"v":0,"d":"0.0000"},{"v":0,"d":"0.00"}]
["",{"v":0,"d":"0.00000"},"","",null,null,"Wpolyfit results",{"$nulls":3},{"v":0,"d":"0.0000"},{"v":0,"d":"0.00"}]
["",{"v":0,"d":"0.00000"},"","",null,null,"Value","+/-",null,null,{"v":0,"d":"0.0000"},{"v":0,"d":"0.00"}]
["",{"v":0,"d":"0.00000"},"","",null,"coef0",0,0,null,null,{"v":0,"d":"0.0000"},{"v":0,"d":"0.00"}]
["",{"v":0,"d":"0.00000"},"","",null,"coef1",0,0,null,null,{"v":0,"d":"0.0000"},{"v":0,"d":"0.00"}]
["",{"v":0,"d":"0.00000"},"","",null,"coef2",0,0,null,null,{"v":0,"d":"0.0000"},{"v":0,"d":"0.00"}]
["",{"v":0,"d":"0.00000"},"","",null,"coef3",0,0,null,null,{"v":0,"d":"0.0000"},{"v":0,"d":"0.00"}]
["",{"v":0,"d":"0.00000"},"","",null,"coef4",0,0,null,null,{"v":0,"d":"0.0000"},{"v":0,"d":"0.00"}]
["",{"v":0,"d":"0.00000"},"","",null,"coef5",0,0,null,null,{"v":0,"d":"0.0000"},{"v":0,"d":"0.00"}]
["",{"v":0,"d":"0.00000"},"","",null,"coef6",0,0,null,null,{"v":0,"d":"0.0000"},{"v":0,"d":"0.00"}]
["",{"v":0,"d":"0.00000"},"","",null,"weighted stdevfit",0,0,null,null,{"v":0,"d":"0.0000"},{"v":0,"d":"0.00"}]
["",{"v":0,"d":"0.00000"},"","",{"$nulls":3},"deg freedom",null,null,{"v":0,"d":"0.0000"},{"v":0,"d":"0.00"}]
["",{"v":0,"d":"0.00000"},"","",{"$nulls":6},{"v":0,"d":"0.0000"},{"v":0,"d":"0.00"}]
[{"$nulls":10},{"v":0,"d":"0.0000"},{"v":0,"d":"0.00"}]
[{"$nulls":10},{"v":0,"d":"0.0000"},{"v":0,"d":"0.00"}]

{"sheet":"Effusion_run1","index":4,"n_rows":227,"n_cols":11,"rows_kept":227,"flags":["formulas_cached_only"]}
[{"$nulls":3},"<-- ENTER \"max time to use\" for fit (0 if no restriction)"]
[{"$nulls":6},{"$error":"#N/A"},"Last time cell"]
[{"$nulls":3},"<-- ENTER \"Pinf(mT)\" (if applicable).",null,null,{"$error":"#N/A"},"Last time row"]
["RUN #1"]
["sec",0,"(P - Pinf)/(mT)","Ln[P-Pinf]","+/-",null,0,"Last good pressure cell#"]
[null,null,{"v":0,"d":"0.00"},"","",null,5,"Last good pressure row"]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"","","sheet","Effusion_run1!"]
[null,null,{"v":0,"d":"0.00"},"","","X Range:  from","Effusion_run1!$A$6"]
[null,null,{"v":0,"d":"0.00"},"","","to (for fit) -->",{"$error":"#N/A"}]
[null,null,{"v":0,"d":"0.00"},"","","to (for plot) -->","Effusion_run1!$A$5"]
[null,null,{"v":0,"d":"0.00"},"","","Y range: from","Effusion_run1!$D$6"]
[null,null,{"v":0,"d":"0.00"},"","","to",{"$error":"#N/A"}]
[null,null,{"v":0,"d":"0.00"},"","","errY range: from","Effusion_run1!$E$6"]
[null,null,{"v":0,"d":"0.00"},"","","to",{"$error":"#N/A"}]
[null,null,{"v":0,"d":"0.00"},"","","Wpolyfit(order 1)",{"$error":"#VALUE!"},{"$error":"#VALUE!"}]
[null,null,{"v":0,"d":"0.00"},"","",null,{"$error":"#VALUE!"},{"$error":"#VALUE!"}]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"","","  RESULTS","Slope/s-1 ","Ln(Po - Pinf)",null,null,{"$error":"#VALUE!"}]
[null,null,{"v":0,"d":"0.00"},"","",null,{"$error":"#VALUE!"},{"$error":"#VALUE!"},null,null,{"$error":"#VALUE!"}]
[null,null,{"v":0,"d":"0.00"},"","","+/- ",{"$error":"#VALUE!"},{"$error":"#VALUE!"}]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"","","Plot of fitted line -->",0,{"$error":"#VALUE!"}]
[null,null,{"v":0,"d":"0.00"},"","",null,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,{"v":0,"d":"0.00"},"","",null,"sec",{"$error":"#VALUE!"}]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]

{"sheet":"Effusion_run2","index":5,"n_rows":206,"n_cols":11,"rows_kept":206,"flags":["formulas_cached_only"]}
[{"$nulls":3},"<-- ENTER \"max time to use\" for fit (0 if no restriction)"]
[{"$nulls":6},{"$error":"#N/A"},"Last time cell"]
[{"$nulls":3},"<-- ENTER \"Pinf(mT)\" (if applicable).",null,null,{"$error":"#N/A"},"Last time row"]
[" RUN #2"]
["sec",0,"(P - Pinf)/(mT)","Ln[P-Pinf]","+/-",null,0,"Last good pressure cell#"]
[null,null,{"v":0,"d":"0.00"},"","",null,5,"Last good pressure row"]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"","","sheet","Effusion_run2!"]
[null,null,{"v":0,"d":"0.00"},"","","X Range:  from","Effusion_run2!$A$6"]
[null,null,{"v":0,"d":"0.00"},"","","to (for fit) -->",{"$error":"#N/A"}]
[null,null,{"v":0,"d":"0.00"},"","","to (for plot) -->","Effusion_run2!$A$5"]
[null,null,{"v":0,"d":"0.00"},"","","Y range: from","Effusion_run2!$D$6"]
[null,null,{"v":0,"d":"0.00"},"","","to",{"$error":"#N/A"}]
[null,null,{"v":0,"d":"0.00"},"","","errY range: from","Effusion_run2!$E$6"]
[null,null,{"v":0,"d":"0.00"},"","","to",{"$error":"#N/A"}]
[null,null,{"v":0,"d":"0.00"},"","","Wpolyfit(order 1)",{"$error":"#VALUE!"},{"$error":"#VALUE!"}]
[null,null,{"v":0,"d":"0.00"},"","",null,{"$error":"#VALUE!"},{"$error":"#VALUE!"}]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"","","  RESULTS","Slope/s-1 ","Ln(Po - Pinf)",null,null,{"$error":"#VALUE!"}]
[null,null,{"v":0,"d":"0.00"},"","",null,{"$error":"#VALUE!"},{"$error":"#VALUE!"},null,null,{"$error":"#VALUE!"}]
[null,null,{"v":0,"d":"0.00"},"","","+/- ",{"$error":"#VALUE!"},{"$error":"#VALUE!"}]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"","","Plot of fitted line -->",0,{"$error":"#VALUE!"}]
[null,null,{"v":0,"d":"0.00"},"","",null,{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,{"v":0,"d":"0.00"},"","",null,"sec",{"$error":"#VALUE!"}]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]
[null,null,{"v":0,"d":"0.00"},"",""]