PAGE  
15-1

Solutions Manual

for

Introduction to Thermodynamics and Heat Transfer
 Yunus A. Cengel

2nd Edition, 2008

Chapter 15
RADIATION HEAT TRANSFER
PROPRIETARY AND CONFIDENTIAL

This Manual is the proprietary property of The McGraw-Hill Companies, Inc. (“McGraw-Hill”) and protected by copyright and other state and federal laws.  By opening and using this Manual the user agrees to the following restrictions, and if the recipient does not agree to these restrictions, the Manual should be promptly returned unopened to McGraw-Hill:  This Manual is being provided only to authorized professors and instructors for use in preparing for the classes using the affiliated textbook.  No other use or distribution of this Manual is permitted.  This Manual may not be sold and may not be distributed to or used by any student or other third party.  No part of this Manual may be reproduced, displayed or distributed in any form or by any means, electronic or otherwise, without the prior written permission of McGraw-Hill.  

Electromagnetic and Thermal Radiation
15-1C Electromagnetic waves are caused by accelerated charges or changing electric currents giving rise to electric and magnetic fields. Sound waves are caused by disturbances.  Electromagnetic waves can travel in vacuum, sound waves cannot. 

15-2C Electromagnetic waves are characterized by their frequency 
[image: image462.emf] and wavelength 
[image: image2.wmf]l

.  These two properties in a medium are related by 
[image: image3.wmf]v

c

/

=

l



EMBED Equation [image: image4.wmf]where c is the speed of light in that medium. 

15-3C Visible light is a kind of electromagnetic wave whose wavelength is between 0.40 and 0.76 (m. It differs from the other forms of electromagnetic radiation in that it triggers the sensation of seeing in the human eye.

15-4C Infrared radiation lies between 0.76 and 100 (m whereas ultraviolet radiation lies between the wavelengths 0.01 and 0.40 (m.  The human body does not emit any radiation in the ultraviolet region since bodies at room temperature emit radiation in the infrared region only.  

15-5C Thermal radiation is the radiation emitted as a result of vibrational and rotational motions of molecules, atoms and electrons of a substance, and it extends from about 0.1 to 100 

 in wavelength. Unlike the other forms of electromagnetic radiation, thermal radiation is emitted by bodies because of their temperature.

15-6C Light (or visible) radiation consists of narrow bands of colors from violet to red. The color of a surface depends on its ability to reflect certain wavelength. For example, a surface that reflects radiation in the wavelength range 0.63-0.76 (m while absorbing the rest appears red to the eye. A surface that reflects all the light appears white while a surface that absorbs the entire light incident on it appears black. The color of a surface at room temperature is not related to the radiation it emits.

15-7C Radiation in opaque solids is considered surface phenomena since only radiation emitted by the molecules in a very thin layer of a body at the surface can escape the solid.

15-8C Because the snow reflects almost all of the visible and ultraviolet radiation, and the skin is exposed to radiation both from the sun and from the snow.

15-9C Microwaves in the range of 
[image: image5.wmf]m

 

10

 

 to

10

5

2

m

 are very suitable for use in cooking as they are reflected by metals, transmitted by glass and plastics and absorbed by food (especially water) molecules. Thus the electric energy converted to radiation in a microwave oven eventually becomes part of the internal energy of the food with no conduction and convection thermal resistances involved. In conventional cooking, on the other hand, conduction and convection thermal resistances slow down the heat transfer, and thus the heating process. 
15-10 The speeds of light in air, water, and glass are to be determined.

Analysis The speeds of light in air, water and glass are

Air:

[image: image6.wmf]m/s

 

10

3.0

8

´

=

´

=

=

1

m/s

 

10

0

.

3

8

0

n

c

c


Water:

[image: image7.wmf]m/s

 

10

2.26

8

´

=

´

=

=

33

.

1

m/s

 

10

0

.

3

8

0

n

c

c


Glass:

[image: image8.wmf]m/s

 

10

2.0

8

´

=

´

=

=

5

.

1

m/s

 

10

0

.

3

8

0

n

c

c


15-11 Electricity is generated and transmitted in power lines at a frequency of 60 Hz. The wavelength of the electromagnetic waves is to be determined.

[image: image1.wmf]v

Analysis The wavelength of the electromagnetic waves is



[image: image9.wmf]m

 

10

4.997

6

´

=

´

=

=

Hz(1/s)

 

60

m/s

 

10

998

.

2

8

v

c

l


15-12 A microwave oven operates at a frequency of 2.2(109 Hz. The wavelength of these microwaves and the energy of each microwave are to be determined.

[image: image438.wmf]Q

&

Analysis The wavelength of these microwaves is



[image: image10.wmf]mm

 

136

=

=

´

´

=

=

m

 

136

.

0

Hz(1/s)

 

10

2

.

2

m/s

 

10

998

.

2

9

8

v

c

l


Then the energy of each microwave becomes



[image: image11.wmf]J

 

10

1.46

24

-

-

´

=

´

´

=

=

=

m

 

136

.

0

)

m/s

 

10

998

.

2

)(

Js

 

10

625

.

6

(

8

34

l

hc

hv

e


[image: image439.bmp]15-13 A radio station is broadcasting radiowaves at a wavelength of 200 m. The frequency of these waves is to be determined.

Analysis The frequency of the waves is determined from



[image: image12.wmf]Hz

 

10

1.5

6

´

=

´

=

=

¾

®

¾

=

 

m

 

200

m/s

 

10

998

.

2

8

l

l

c

v

v

c


[image: image440.wmf]15-14 A cordless telephone operates at a frequency of 8.5(108 Hz. The wavelength of these telephone waves is to be determined.

Analysis The wavelength of the telephone waves is



[image: image13.wmf]mm

 

353

=

=

´

´

=

=

m

 

353

.

0

Hz(1/s)

 

10

5

.

8

m/s

 

10

998

.

2

8

8

v

c

l


Blackbody Radiation

15-15C A blackbody is a perfect emitter and absorber of radiation.  A blackbody does not actually exist.  It is an idealized body that emits the maximum amount of radiation that can be emitted by a surface at a given temperature.

15-16C Spectral blackbody emissive power is the amount of radiation energy emitted by a blackbody at an absolute temperature T per unit time, per unit surface area and per unit wavelength about wavelength 
[image: image14.wmf]l

.  The integration of the spectral blackbody emissive power over the entire wavelength spectrum gives the total blackbody emissive power,



[image: image15.wmf]ò

¥

=

=

0

4

)

(

)

(

T

d

T

E

T

E

b

b

s

l

l


The spectral blackbody emissive power varies with wavelength, the total blackbody emissive power does not.

15-17C We defined the blackbody radiation function 
[image: image16.wmf]l

f

 because the integration 



 EMBED Equation  [image: image17.wmf]ò

¥

0

)

(

l

l

d

T

E

b

cannot be performed. The blackbody radiation function 
[image: image18.wmf]l

f

 represents the fraction of radiation emitted from a blackbody at temperature T in the wavelength range from 
[image: image19.wmf]l

= 0 to 
[image: image20.wmf]l

. This function is used to determine the fraction of radiation in a wavelength range between 
[image: image21.wmf]2

1

 

and

 

l

l

.

15-18C The larger the temperature of a body, the larger the fraction of the radiation emitted in shorter wavelengths. Therefore, the body at 1500 K will emit more radiation in the shorter wavelength region. The body at 1000 K emits more radiation at  20 (m than the body at 1500 K since 
[image: image22.wmf]constant

=

T

l

.

15-19 The maximum thermal radiation that can be emitted by a surface is to be determined.

Analysis The maximum thermal radiation that can be emitted by a surface is determined from Stefan-Boltzman law to be



[image: image23.wmf]2

4

 W/m

10

2.32

´

=

´

=

=

-

4

4

2

8

4

K)

 

800

)(

K

.

 W/m

10

67

.

5

(

)

(

T

T

E

b

s


15-20 An isothermal cubical body is suspended in the air. The rate at which the cube emits radiation energy and the spectral blackbody emissive power are to be determined.

Assumptions The body behaves as a black body.
Analysis (a) The total blackbody emissive power is determined from Stefan-Boltzman Law to be


[image: image24.wmf]2

2

2

m

 

24

.

0

)

2

.

0

(

6

6

=

=

=

a

A

s


[image: image441.bmp]
[image: image25.wmf] W

4306

=

´

=

=

-

)

m

 

24

.

0

(

K)

 

750

)(

K

.

 W/m

10

67

.

5

(

)

(

2

4

4

2

8

4

s

b

A

T

T

E

s


(b) The spectral blackbody emissive power at a wavelength of 4 

 is determined from Plank's distribution law,

    
[image: image26.wmf]μm

kW/m

 

3.05

2

×

=

×

=

ú

ú

û

ù

ê

ê

ë

é

-

÷

÷

ø

ö

ç

ç

è

æ

×

´

×

´

=

ú

û

ù

ê

ë

é

-

÷

÷

ø

ö

ç

ç

è

æ

=

μm

 W/m

3045

1

K)

 

m)(750

 

4

(

K

m

 

10

43878

.

1

exp

m)

 

4

(

/m

m

 W

10

74177

.

3

1

exp

2

4

5

2

4

8

2

5

1

m

m

m

m

l

l

l

T

C

C

E

b


15-21E The sun is at an effective surface temperature of 10,400 R. The rate of infrared radiation energy emitted by the sun is to be determined.

Assumptions The sun behaves as a black body.
[image: image442.bmp]Analysis Noting that T = 10,400 R = 5778 K, the blackbody radiation functions corresponding to 
[image: image27.wmf]T

T

2

1

 

and

 

l

l

 are determined from Table 15-2 to be



[image: image28.wmf]0

.

1

mK

 

577,800

=

K)

 

m)(5778

 

100

(

547370

.

0

mK

 

4391.3

=

K)

 

m)(5778

 

76

.

0

(

2

1

2

1

=

¾

®

¾

=

=

¾

®

¾

=

λ

λ

f

T

f

T

m

m

l

m

m

l


Then the fraction of radiation emitted between these two wavelengths becomes            



[image: image29.wmf]453

.

0

547

.

0

0

.

1

1

2

=

-

=

-

l

l

f

f

     (or 45.3%)

The total blackbody emissive power of the sun is determined from Stefan-Boltzman Law to be 



[image: image30.wmf]2

7

4

4

2

8

4

Btu/h.ft

 

10

005

.

2

R)

 

400

,

10

)(

R

.

Btu/h.ft

 

10

1714

.

0

(

´

=

´

=

=

-

T

E

b

s


Then,

             
[image: image31.wmf]2

6

Btu/h.ft

 

10

9.08

´

=

´

=

=

)

Btu/h.ft

 

10

005

.

2

)(

453

.

0

(

)

453

.

0

(

2

7

infrared

b

E

E


15-22 EES The spectral blackbody emissive power of the sun versus wavelength in the range of 0.01 (m to 1000 (m is to be plotted. 

Analysis The problem is solved using EES, and the solution is given below.

"GIVEN"
T=5780 [K]

lambda=0.01[micrometer]

"ANALYSIS"
E_b_lambda=C_1/(lambda^5*(exp(C_2/(lambda*T))-1))

C_1=3.742E8 [W-micrometer^4/m^2]

C_2=1.439E4 [micrometer-K]
[image: image443.wmf]
	( [(m]
	Eb, ( [W/m2-(m]

	0.01
	0

	10.11
	12684

	20.21
	846.3

	30.31
	170.8

	40.41
	54.63

	50.51
	22.52

	60.62
	10.91

	70.72
	5.905

	80.82
	3.469

	90.92
	2.17

	…
	…

	…
	…

	909.1
	0.0002198

	919.2
	0.0002103

	929.3
	0.0002013

	939.4
	0.0001928

	949.5
	0.0001847

	959.6
	0.000177

	969.7
	0.0001698

	979.8
	0.0001629

	989.9
	0.0001563

	1000
	0.0001501


15-23 The temperature of the filament of an incandescent light bulb is given. The fraction of visible radiation emitted by the filament and the wavelength at which the emission peaks are to be determined.

Assumptions The filament behaves as a black body.
[image: image444.bmp]Analysis The visible range of the electromagnetic spectrum extends from 
[image: image32.wmf] 

m

 

76

.

0

 

 to

m

 

40

.

0

2

1

m

l

m

l

=

=

.  Noting that  T = 3200 K, the blackbody radiation functions corresponding to 
[image: image33.wmf]T

T

2

1

 

and

 

l

l

 are determined from Table 15-2 to be



[image: image34.wmf]147114

.

0

mK

 

2432

=

K)

 

m)(3200

 

76

.

0

(

0043964

.

0

mK

 

1280

=

K)

 

m)(3200

 

40

.

0

(

2

1

2

1

=

¾

®

¾

=

=

¾

®

¾

=

λ

λ

f

T

f

T

m

m

l

m

m

l


Then the fraction of radiation emitted between these two wavelengths becomes


[image: image35.wmf]0.142718

=

-

=

-

004396

.

0

147114

.

0

1

2

l

l

f

f

     (or 14.3%)

The wavelength at which the emission of radiation from the filament is maximum is 


[image: image36.wmf]mm

 

0.906

=

×

=

¾

®

¾

×

=

K

 

3200

K

m

 

8

.

2897

K

m

 

8

.

2897

)

(

power

max 

power

max 

m

l

m

l

T


15-24 EES Prob. 15-23 is reconsidered. The effect of temperature on the fraction of radiation emitted in the visible range is to be investigated. 

Analysis The problem is solved using EES, and the solution is given below.

"GIVEN"
T=3200 [K] 

lambda_1=0.40 [micrometer]

lambda_2=0.76 [micrometer]

"ANALYSIS"
E_b_lambda=C_1/(lambda^5*(exp(C_2/(lambda*T))-1))

C_1=3.742E8 [W-micrometer^4/m^2]

C_2=1.439E4 [micrometer-K]

f_lambda=integral(E_b_lambda, lambda, lambda_1, lambda_2)/E_b

E_b=sigma*T^4

sigma=5.67E-8 [W/m^2-K^4] “Stefan-Boltzmann constant"

	T [K]
	[image: image445.jpg]


f(

	1000
	0.000007353

	1200
	0.0001032

	1400
	0.0006403

	1600
	0.002405

	1800
	0.006505

	2000
	0.01404

	2200
	0.02576

	2400
	0.04198

	2600
	0.06248

	2800
	0.08671

	3000
	0.1139

	3200
	0.143

	3400
	0.1732

	3600
	0.2036

	3800
	0.2336

	4000
	0.2623


15-25 An incandescent light bulb emits 15% of its energy at wavelengths shorter than 0.8 (m. The temperature of the filament is to be determined.

[image: image446.jpg]


Assumptions The filament behaves as a black body.
Analysis From the Table 15-2 for the fraction of the radiation, we read



[image: image37.wmf]mK

 

2445

15

.

0

m

l

l

=

¾

®

¾

=

T

f

 

For the wavelength range of 
[image: image38.wmf] 

m

 

.8

0

 

 to

m

 

0

.

0

2

1

m

l

m

l

=

=




[image: image39.wmf]K

 

3056

=

¾

®

¾

=

¾

®

¾

T

T

mK

 

2445

m

 

0.8

=

m

l

m

l


15-26 Radiation emitted by a light source is maximum in the blue range. The temperature of this light source and the fraction of radiation it emits in the visible range are to be determined.

Assumptions The light source behaves as a black body.
Analysis The temperature of this light source is 

[image: image447.bmp]

[image: image40.wmf]K

 

6166

=

×

=

¾

®

¾

×

=

m

 

47

.

0

K

m

 

8

.

2897

K

m

 

8

.

2897

)

(

power

max 

m

m

m

l

T

T


The visible range of the electromagnetic spectrum extends from 
[image: image41.wmf] 

m

 

76

.

0

 

 to

m

 

40

.

0

2

1

m

l

m

l

=

=

.  Noting that T = 6166 K, the blackbody radiation functions corresponding to 
[image: image42.wmf]T

T

2

1

 

and

 

l

l

 are determined from Table 15-2 to be



[image: image43.wmf]59144

.

0

mK

 

4686

=

K)

 

m)(6166

 

76

.

0

(

15440

.

0

mK

 

2466

=

K)

 

m)(6166

 

40

.

0

(

2

1

2

1

=

¾

®

¾

=

=

¾

®

¾

=

λ

λ

f

T

f

T

m

m

l

m

m

l


Then the fraction of radiation emitted between these two wavelengths becomes



[image: image44.wmf]0.437

@

-

=

-

15440

.

0

59144

.

0

1

2

l

l

f

f

     (or 43.7%)

15-27 A glass window transmits 90% of the radiation in a specified wavelength range and is opaque for radiation at other wavelengths. The rate of radiation transmitted through this window is to be determined for two cases.

[image: image448.wmf]500

600

700

800

900

1000

0

5000

10000

15000

20000

25000

30000

T

1

 

 

[

K

]

q

1

2

 

 

[

W

/

m

2

]

 

Assumptions The sources behave as a black body.
Analysis The surface area of the glass window is  



[image: image45.wmf]2

m

 

4

=

s

A


(a) For a blackbody source at 5800 K, the total blackbody radiation emission is    


[image: image46.wmf]kW

 

10

567

.

2

)

m

 

4

(

K)

 

5800

(

K)

.

kW/m

 

10

67

.

5

(

)

(

5

2

4

4

2

8

4

´

=

´

=

=

-

s

b

A

T

T

E

s


The fraction of radiation in the range of 0.3 to 3.0 (m is

     
[image: image47.wmf]97875

.

0

mK

 

17,400

=

K)

 

m)(5800

 

0

.

3

(

03345

.

0

mK

 

1740

=

K)

 

m)(5800

 

30

.

0

(

2

1

2

1

=

¾

®

¾

=

=

¾

®

¾

=

λ

λ

f

T

f

T

m

m

l

m

m

l


     
[image: image48.wmf]9453

.

0

03345

.

0

97875

.

0

1

2

=

-

=

-

=

D

l

l

f

f

f


Noting that 90% of the total radiation is transmitted through the window,

     
[image: image49.wmf]kW

 

10

2.184

5

´

=

´

=

D

=

)

kW

 

10

567

.

2

)(

9453

.

0

)(

90

.

0

(

)

(

90

.

0

5

transmit

T

fE

E

b


(b) For a blackbody source at 1000 K, the total blackbody emissive power is


[image: image50.wmf]kW

 

8

.

226

)

m

 

4

(

K)

 

1000

)(

K

.

 W/m

10

67

.

5

(

)

(

2

4

4

2

8

4

=

´

=

=

-

s

b

A

T

T

E

s


The fraction of radiation in the visible range of 0.3 to 3.0 (m is



[image: image51.wmf]273232

.

0

mK

 

3000

=

K)

 

m)(1000

 

0

.

3

(

0000

.

0

mK

 

300

=

K)

 

m)(1000

 

30

.

0

(

2

1

2

1

=

¾

®

¾

=

=

¾

®

¾

=

λ

λ

f

T

f

T

m

m

l

m

m

l




[image: image52.wmf]0

273232

.

0

1

2

-

=

-

=

D

l

l

f

f

f


and



[image: image53.wmf]kW

 

55.8

=

=

D

=

)

kW

 

8

.

226

)(

273232

.

0

)(

90

.

0

(

)

(

90

.

0

transmit

T

fE

E

b


Radiation Properties

15-28C The emissivity 

 is the ratio of the radiation emitted by the surface to the radiation emitted by a blackbody at the same temperature. The fraction of radiation absorbed by the surface is called the absorptivity 

,



[image: image54.wmf])

(

)

(

)

(

T

E

T

E

T

b

=

e

   and   
[image: image55.wmf]G

G

abs

=

=

radiation

incident 

radiation

 

absorbed

a


When the surface temperature is equal to the temperature of the source of radiation, the total hemispherical emissivity of a surface at temperature T is equal to its total hemispherical absorptivity for radiation coming from a blackbody at the same temperature 
[image: image56.wmf])

(

)

(

T

T

l

l

a

e

=

.

15-29C The fraction of irradiation reflected by the surface is called reflectivity 
[image: image57.wmf]r

 and the fraction transmitted is called the transmissivity 
[image: image58.wmf]t




[image: image59.wmf]G

G

G

G

tr

ref

=

=

t

r

   

and

   


Surfaces are assumed to reflect in a perfectly spectral or diffuse manner for simplicity. In spectral (or mirror like) reflection, the angle of reflection equals the angle of incidence of the radiation beam. In diffuse reflection, radiation is reflected equally in all directions.

15-30C A body whose surface properties are independent of wavelength is said to be a graybody. The emissivity of a blackbody is one for all wavelengths, the emissivity of a graybody is between zero and one. 

15-31C The heating effect which is due to the non-gray characteristic of glass, clear plastic, or atmospheric gases is known as the greenhouse effect since this effect is utilized primarily in greenhouses. The combustion gases such as CO2 and water vapor in the atmosphere transmit the bulk of the solar radiation but absorb the infrared radiation emitted by the surface of the earth, acting like a heat trap. There is a concern that the energy trapped on earth will eventually cause global warming and thus drastic changes in weather patterns.

15-32C Glass has a transparent window in the wavelength range 0.3 to 3 (m and it is not transparent to the radiation which has wavelength range greater than 3 (m. Therefore, because the microwaves are in the range of 
[image: image60.wmf]5

2

10

 

 to

10

 (m, the harmful microwave radiation cannot escape from the glass door.

15-33 The variation of emissivity of a surface at a specified temperature with wavelength is given. The average emissivity of the surface and its emissive power are to be determined.

[image: image449.wmf]0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

500

1000

1500

2000

2500

3000

3500

4000

4500

5000

e

1

q

1

2

 

 

[

W

/

m

2

]

 

Analysis The average emissivity of the surface can be determined from


[image: image61.wmf] 

)

1

(

+

)

(

+

       

+

+

       

)

(

)

(

)

(

)

(

2

1

2

1

2

2

1

1

2

2

1

1

3

2

1

-

3

-

2

-

0

1

4

3

4

2

4

0

1

l

l

l

l

l

l

l

l

l

l

l

l

e

e

e

e

e

e

s

l

e

s

l

e

s

l

e

e

l

l

l

f

f

f

f

f

f

f

T

d

T

E

T

d

T

E

T

d

T

E

T

b

b

b

-

-

=

=

+

+

=

¥

¥

ò

ò

ò


where 

 are blackbody radiation functions corresponding to 
[image: image62.wmf]T

T

2

1

 

and

 

l

l

, determined from 

     
[image: image63.wmf]737818

.

0

mK

 

6000

=

K)

 

m)(1000

 

6

(

066728

.

0

mK

 

2000

=

K)

 

m)(1000

 

2

(

2

1

2

1

=

¾

®

¾

=

=

¾

®

¾

=

λ

λ

f

T

f

T

m

m

l

m

m

l


     
[image: image64.wmf].

1

 

since

 

f

 

and

 

0

 

since

 

2

2

1

1

0

0

1

0

=

-

=

=

=

-

=

¥

¥

¥

-

-

f

f

f

f

f

f

f

f

l

l

l

l

l


and,



[image: image65.wmf]0.575

=

-

+

-

+

=

)

737818

.

0

1

)(

3

.

0

(

)

066728

.

0

737818

.

0

)(

7

.

0

(

066728

.

0

)

4

.

0

(

e


Then the emissive power of the surface becomes



[image: image66.wmf]2

kW/m

 

32.6

=

´

=

=

-

4

4

2

8

4

K)

 

1000

)(

K

.

 W/m

10

67

.

5

(

575

.

0

T

E

es


15-34 The variation of reflectivity of a surface with wavelength is given. The average reflectivity, emissivity, and absorptivity of the surface are to be determined for two source temperatures.

[image: image450.wmf]2.5

3

3.5

4

4.5

5

227.2

227.4

227.6

227.8

228

228.2

228.4

228.6

228.8

a  [m]

Q

2

1

 

 

[

W

]

 

Analysis The average reflectivity of this surface for solar radiation (T = 5800 K) is determined to be


[image: image67.wmf]978746

.

0

mK

 

17400

=

K)

 

m)(5800

 

3

(

=

®

=

λ

f

T

m

m

l



[image: image68.wmf]0.362

=

-

+

=

-

+

=

+

=

¥

-

-

)

978746

.

0

1

)(

95

.

0

(

)

978746

.

0

)(

35

.

0

(

        

)

1

(

        

)

(

)

(

)

(

1

1

1

1

2

1

2

0

1

l

l

l

l

r

r

r

r

r

f

f

T

f

T

f

T


Noting that this is an opaque surface, 
[image: image69.wmf]0

=

t

 

At T = 5800 K:

[image: image70.wmf]0.638

=

-

=

-

=

¾

®

¾

=

+

362

.

0

1

1

1

r

a

r

a


Repeating calculations for radiation coming from surfaces at T = 300 K,



[image: image71.wmf]0001685

.

0

mK

 

900

=

K)

 

m)(300

 

3

(

1

=

¾

®

¾

=

λ

f

T

m

m

l




[image: image72.wmf]0.95

=

-

+

=

)

0001685

.

0

1

)(

95

.

0

(

)

0001685

.

0

)(

35

.

0

(

)

(

T

r


At T = 300 K:

[image: image73.wmf]0.05

=

-

=

-

=

¾

®

¾

=

+

95

.

0

1

1

1

r

a

r

a


and

[image: image74.wmf]0.05

=

=

a

e


The temperature of the aluminum plate is close to room temperature, and thus emissivity of the plate will be equal to its absorptivity at room temperature. That is,



[image: image75.wmf]638

.

0

05

.

0

=

=

=

=

s

room

a

a

e

e


which makes it suitable as a solar collector. (
[image: image76.wmf]0

 

and

 

1

room

=

=

e

a

s

 for an ideal solar collector)

[image: image451.wmf]0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

200

400

600

800

1000

1200

1400

1600

1800

2000

e

1

Q

2

1

 

 

[

W

]

 

15-35 The variation of transmissivity of the glass window of a furnace at a specified temperature with wavelength is given. The fraction and the rate of radiation coming from the furnace and transmitted through the window are to be determined.

Assumptions The window glass behaves as a black body.
Analysis The fraction of radiation at wavelengths smaller than 3 (m is


[image: image77.wmf]403607

.

0

mK

 

3600

=

K)

 

m)(1200

 

3

(

=

¾

®

¾

=

λ

f

T

m

m

l


The fraction of radiation coming from the furnace and transmitted through the window is



[image: image78.wmf]0.2825

=

-

+

=

-

+

=

)

403607

.

0

1

)(

0

(

)

403607

.

0

)(

7

.

0

(

        

)

1

(

)

(

2

1

l

l

t

t

t

f

f

T


Then the rate of radiation coming from the furnace and transmitted through the window becomes



[image: image79.wmf] W

5315

=

´

´

=

=

-

4

4

2

8

2

4

K)

 

1200

)(

K

.

 W/m

10

67

.

5

)(

m

 

40

.

0

40

.

0

(

2825

.

0

T

A

G

tr

s

t


15-36 The variation of emissivity of a tungsten filament with wavelength is given. The average emissivity, absorptivity, and reflectivity of the filament are to be determined for two temperatures.

Analysis (a) T = 2000 K


[image: image80.wmf]066728

.

0

mK

 

2000

=

K)

 

m)(2000

 

1

(

1

1

=

¾

®

¾

=

λ

f

T

m

m

l


[image: image452.wmf]0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

185

190

195

200

205

210

215

220

225

230

e

2

Q

2

1

 

 

[

W

]

 

The average emissivity of this surface is



[image: image81.wmf]0.173

=

-

+

=

-

+

=

)

066728

.

0

1

)(

15

.

0

(

)

066728

.

0

)(

5

.

0

(

        

)

1

(

)

(

1

1

2

1

l

l

e

e

e

f

f

T


From Kirchhoff’s law,



[image: image82.wmf]0.173

=

=

a

e

   (at 2000 K)

and

[image: image83.wmf]0.827

=

-

=

-

=

¾

®

¾

=

+

173

.

0

1

1

1

a

r

r

a


(b) T = 3000 K



[image: image84.wmf]273232

.

0

mK

 

3000

=

K)

 

m)(3000

 

1

(

1

1

=

¾

®

¾

=

λ

f

T

m

m

l


Then



[image: image85.wmf]0.246

=

-

+

=

-

+

=

)

273232

.

0

1

)(

15

.

0

(

)

273232

.

0

)(

5

.

0

(

 

)

1

(

)

(

1

1

2

1

l

l

e

e

e

f

f

T


From Kirchhoff’s law,



[image: image86.wmf]0.246

=

=

a

e

   (at 3000 K)

and

[image: image87.wmf]0.754

=

-

=

-

=

¾

®

¾

=

+

246

.

0

1

1

1

a

r

r

a


15-37 The variations of emissivity of two surfaces are given. The average emissivity, absorptivity, and reflectivity of each surface are to be determined at the given temperature.

Analysis For the first surface:  

[image: image453.wmf]500

600

700

800

900

1000

525

530

535

540

545

550

555

Q

1

2

 

 

[

W

]

T

1

 

 

[

K

]

 

 
[image: image88.wmf]890029

.

0

mK

 

9000

=

K)

 

m)(3000

 

3

(

1

1

=

¾

®

¾

=

λ

f

T

m

m

l


The average emissivity of this surface is


[image: image89.wmf]0.28

=

-

+

=

-

+

=

)

890029

.

0

1

)(

9

.

0

(

)

890029

.

0

)(

2

.

0

(

        

)

1

(

)

(

1

1

2

1

l

l

e

e

e

f

f

T


The absorptivity and reflectivity are determined from Kirchhoff’s law


[image: image90.wmf]0.72

0.28

=

-

=

-

=

¾

®

¾

=

+

=

=

28

.

0

1

1

1

K)

 

3000

(at 

     

a

r

r

a

a

e


For the second surface:  



[image: image91.wmf]890029

.

0

mK

 

9000

=

K)

 

m)(3000

 

3

(

1

1

=

¾

®

¾

=

λ

f

T

m

m

l


The average emissivity of this surface is



[image: image92.wmf]0.72

=

-

+

=

-

+

=

)

890029

.

0

1

)(

1

.

0

(

)

890029

.

0

)(

8

.

0

(

        

)

1

(

)

(

1

1

2

1

l

l

e

e

e

f

f

T


Then,



[image: image93.wmf]0.28

0.72

=

-

=

-

=

®

=

+

=

=

72

.

0

1

1

1

K)

 

3000

(at 

     

a

r

r

a

a

e


Discussion The second surface is more suitable to serve as a solar absorber since its absorptivity for short wavelength radiation (typical of radiation emitted by a high-temperature source such as the sun) is high, and its emissivity for long wavelength radiation (typical of emitted radiation from the absorber plate) is low. 

15-38 The variation of emissivity of a surface with wavelength is given. The average emissivity and  absorptivity of the surface are to be determined for two temperatures.

Analysis (a) For T = 5800 K:
     
[image: image94.wmf]994715

.

0

mK

 

29,000

=

K)

 

m)(5800

 

5

(

1

1

=

¾

®

¾

=

λ

f

T

m

m

l


[image: image454.wmf]300

350

400

450

500

550

600

650

700

400

450

500

550

600

650

700

750

T

2

 

 

[

K

]

T

1

 

 

[

K

]

 

The average emissivity of this surface is



[image: image95.wmf]0.154

=

-

+

=

-

+

=

)

994715

.

0

1

)(

9

.

0

(

)

994715

.

0

)(

15

.

0

(

        

)

1

(

)

(

1

1

2

1

l

l

e

e

e

f

f

T


(b) For T = 300 K:

[image: image96.wmf]013754

.

0

mK

 

1500

=

K)

 

m)(300

5

(

1

1

=

¾

®

¾

=

λ

f

T

m

m

l


and


[image: image97.wmf]0.89

=

-

+

=

-

+

=

)

013754

.

0

1

)(

9

.

0

(

)

013754

.

0

)(

15

.

0

(

        

)

1

(

)

(

1

1

2

1

l

l

e

e

e

f

f

T


The absorptivities of this surface for radiation coming from sources at 5800 K and 300 K are, from Kirchhoff’s law,



[image: image98.wmf]0.154

=

=

e

a


(at 5800 K)



[image: image99.wmf]0.89

=

=

e

a


(at 300 K)

15-39 The variation of absorptivity of a surface with wavelength is given. The average absorptivity, reflectivity, and emissivity of the surface are to be determined at given temperatures.

Analysis For T = 2500 K:

[image: image455.emf]0.01 0.1 1 10 100 1000 10000

0.0001

0.001

0.01

0.1

1

10

100

1000

10000

100000

  [m]

E

b



 

[

W

/

m

2

-



m

]


[image: image100.wmf]633747

.

0

mK

 

5000

=

K)

 

m)(2500

 

2

(

1

1

=

¾

®

¾

=

λ

f

T

m

m

l


The average absorptivity of this surface is



[image: image101.wmf]0.38

=

-

+

=

-

+

=

)

633747

.

0

1

)(

7

.

0

(

)

633747

.

0

)(

2

.

0

(

        

)

1

(

)

(

1

1

2

1

l

l

a

a

a

f

f

T


Then the reflectivity of this surface becomes



[image: image102.wmf]0.62

=

-

=

-

=

¾

®

¾

=

+

38

.

0

1

1

1

a

r

r

a


Using Kirchhoff’s law, 
[image: image103.wmf]e

a

=

, the average emissivity of this surface at T  = 3000 K is determined to be 



[image: image104.wmf]737818

.

0

mK

 

6000

=

K)

 

m)(3000

2

(

=

¾

®

¾

=

λ

f

T

m

m

l




[image: image105.wmf]0.33

=

-

+

=

-

+

=

)

737818

.

0

1

)(

7

.

0

(

)

737818

.

0

)(

2

.

0

(

        

)

1

(

)

(

1

1

2

1

l

l

e

e

e

f

f

T


15-40E A spherical ball emits radiation at a certain rate. The average emissivity of the ball is to be determined at the given temperature.

[image: image456.emf]1000 1500 2000 2500 3000 3500 4000

0

0.05

0.1

0.15

0.2

0.25

0.3

T  [K]

f



Analysis The surface area of the ball is



[image: image106.wmf]2

2

2

ft

 

5454

.

0

)

ft

 

12

/

5

(

=

=

=

p

p

D

A


Then the average emissivity of the ball at this temperature is determined to be 



[image: image107.wmf]0.722

=

×

´

=

=

¾

®

¾

=

4

4

2

8

-

2

4

4

R)

 

950

)(

R

Btu/h.ft

 

10

)(0.1714

ft

 

(0.5454

Btu/h

 

550

T

A

E

T

A

E

s

e

s

e


15-41 The variation of transmissivity of a glass is given. The average transmissivity of the pane at two temperatures and the amount of solar radiation transmitted through the pane are to be determined.

Analysis For T=5800 K:
[image: image457.bmp]   
[image: image108.wmf]033454

.

0

          

          

          

          

mK

 

1740

=

K)

 

m)(5800

 

3

.

0

(

1

1

1

=

¾

®

¾

=

λ

f

T

m

m

l


   
[image: image109.wmf]978746

.

0

 

          

          

          

          

mK

 

17,400

=

K)

 

m)(5800

 

3

(

2

1

2

=

¾

®

¾

=

λ

f

T

m

m

l


The average transmissivity of this surface is

   
[image: image110.wmf]0.870

=

-

=

-

=

)

033454

.

0

978746

.

0

)(

92

.

0

(

)

(

)

(

1

2

1

l

l

t

t

f

f

T


For T=300 K:
   
[image: image111.wmf]0

.

0

mK

 

90

=

K)

 

m)(300

 

3

.

0

(

1

2

1

=

¾

®

¾

=

λ

f

T

m

m

l


   
[image: image112.wmf]0001685

.

0

mK

 

900

=

K)

 

m)(300

 

3

(

2

2

2

=

¾

®

¾

=

λ

f

T

m

m

l


Then,



[image: image113.wmf]0

0.00016

»

=

-

=

-

=

)

0

.

0

0001685

.

0

)(

92

.

0

(

)

(

)

(

1

2

1

l

l

t

t

f

f

T


The amount of solar radiation transmitted through this glass is



[image: image114.wmf]2

  W/m

566

=

=

=

)

 W/m

650

(

870

.

0

2

incident

tr

G

G

t


View Factors

15-42C The view factor 
[image: image115.wmf]j

i

F

®

 represents the fraction of the radiation leaving surface i that strikes surface j directly. The view factor from a surface to itself is non-zero for concave surfaces.  

15-43C The pair of view factors 
[image: image116.wmf]j

i

F

®

 and 
[image: image117.wmf]i

j

F

®

 are related to each other by the reciprocity rule 
[image: image118.wmf]ji

j

ij

i

F

A

F

A

=

 where Ai is the area of the surface i and Aj is the area of the surface j. Therefore,



[image: image119.wmf]21

1

2

12

21

2

12

1

F

A

A

F

F

A

F

A

=

¾

®

¾

=


15-44C The summation rule for an enclosure and is expressed as  
[image: image120.wmf]å

=

®

=

N

j

j

i

F

1

1

 where N is the number of surfaces of the enclosure. It states that the sum of the view factors from surface i of an enclosure to all surfaces of the enclosure, including to itself must be equal to unity. 


The superposition rule is stated as the view factor from a surface i to a surface j is equal to the sum of the view factors from surface i to the parts of surface j, 
[image: image121.wmf]3

1

2

1

)

3

,

2

(

1

®

®

®

+

=

F

F

F

.

15-45C The cross-string method is applicable to geometries which are very long in one direction relative to the other directions. By attaching strings between corners the Crossed-Strings Method is expressed as



[image: image122.wmf]i

F

j

i

 

surface

on 

 

string

2

strings

 

Uncrossed

strings

 

Crossed

´

-

=

å

å

®


15-46 An enclosure consisting of eight surfaces is considered. The number of view factors this geometry involves and the number of these view factors that can be determined by the application of the reciprocity and summation rules are to be determined.

[image: image458.bmp]Analysis An eight surface enclosure (N = 8) involves 
[image: image123.wmf]64

=

=

2

2

8

N

 view factors and we need to determine 
[image: image124.wmf]28

2

)

1

8

(

8

2

)

1

(

=

-

=

-

N

N

 view factors directly. The remaining 64 - 28 = 36 of the view factors can be determined by the application of the reciprocity and summation rules.

[image: image459.jpg]


15-47 An enclosure consisting of five surfaces is considered. The number of view factors this geometry involves and the number of these view factors that can be determined by the application of the reciprocity and summation rules are to be determined.

Analysis A five surface enclosure (N=5) involves 
[image: image125.wmf]25

=

=

2

2

5

N

 view factors and we need to determine 
[image: image126.wmf]10

2

)

1

5

(

5

2

)

1

(

=

-

=

-

N

N

 view factors directly. The remaining 25-10 = 15 of the view factors can be determined by the application of the reciprocity and summation rules.

[image: image460.bmp]15-48 An enclosure consisting of twelve surfaces is considered. The number of view factors this geometry involves and the number of these view factors that can be determined by the application of the reciprocity and summation rules are to be determined.

Analysis A twelve surface enclosure (N=12) involves 
[image: image127.wmf]144

=

=

2

2

12

N

 view factors  and we need to determine  
[image: image128.wmf]66

2

)

1

12

(

12

2

)

1

(

=

-

=

-

N

N

 view factors directly. The remaining 144-66 = 78 of the view factors can be determined by the application of the reciprocity and summation rules.

15-49 The view factors between the rectangular surfaces shown in the figure are to be determined.

Assumptions The surfaces are diffuse emitters and reflectors.
Analysis From Fig. 15-6,

[image: image461.emf]

[image: image129.wmf]27

.

0

33

.

0

3

1

33

.

0

3

1

31

1

3

=

ï

ï

þ

ï

ï

ý

ü

=

=

=

=

F

W

L

W

L


and


[image: image130.wmf]32

.

0

67

.

0

3

2

33

.

0

3

1

)

2

1

(

3

2

1

3

=

ï

ï

þ

ï

ï

ý

ü

=

=

+

=

=

+

®

F

W

L

L

W

L


We note that A1 = A3. Then the reciprocity and superposition rules gives



[image: image131.wmf]0.27

=

=

¾

®

¾

=

31

13

31

3

13

1

A

F

F

F

A

F



[image: image132.wmf]05

.

0

27

.

0

32

.

0

     

32

32

32

31

)

2

1

(

3

=

¾

®

¾

+

=

¾

®

¾

+

=

+

®

F

F

F

F

F


Finally,
[image: image133.wmf]

 EMBED Equation  [image: image134.wmf]0.05

=

=

¾

®

¾

=

32

23

3

2

F

F

A

A


15-50 A cylindrical enclosure is considered. The view factor from the side surface of this cylindrical enclosure to its base surface is to be determined.

Assumptions The surfaces are diffuse emitters and reflectors.
Analysis We designate the surfaces as follows:


Base surface by (1), 


top surface by (2), and                                            


side surface by (3).

Then from Fig. 15-7



[image: image135.wmf]05

.

0

25

.

0

4

4

4

21

12

2

2

2

1

1

1

=

=

ï

ï

þ

ï

ï

ý

ü

=

=

=

=

F

F

r

r

L

r

r

r

r

L



[image: image136.wmf]1

 

:

rule

summation 

13

12

11

=

+

+

F

F

F



[image: image137.wmf]95

.

0

1

05

.

0

0

13

13

=

¾

®

¾

=

+

+

F

F


 
[image: image138.wmf]0.119

=

=

=

=

=

¾

®

¾

=

)

95

.

0

(

8

1

8

2

 

:

rule

y 

reciprocit

13

2

1

2

1

13

1

2

1

13

3

1

31

31

3

13

1

F

r

r

F

L

r

r

F

A

A

F

F

A

F

A

p

p

p

p

                    

Discussion This problem can be solved more accurately by using the view factor relation from Table 15-3 to be 


[image: image139.wmf]25

.

0

4

25

.

0

4

2

2

2

2

1

1

1

1

=

=

=

=

=

=

r

r

L

r

R

r

r

L

r

R



[image: image140.wmf]056

.

0

1

1

4

18

18

4

18

25

.

0

25

.

0

1

1

1

1

5

.

0

2

2

2

1

5

.

0

2

1

2

2

2

1

12

2

2

2

1

2

2

=

ï

þ

ï

ý

ü

ï

î

ï

í

ì

ú

ú

û

ù

ê

ê

ë

é

÷

ø

ö

ç

è

æ

-

-

=

ï

þ

ï

ý

ü

ï

î

ï

í

ì

ú

ú

û

ù

ê

ê

ë

é

÷

÷

ø

ö

ç

ç

è

æ

-

-

=

=

+

+

=

+

+

=

R

R

S

S

F

R

R

S



[image: image141.wmf]944

.

0

056

.

0

1

1

12

13

=

-

=

-

=

F

F



[image: image142.wmf]0.118

=

=

=

=

=

¾

®

¾

=

)

944

.

0

(

8

1

8

2

 

:

rule

y 

reciprocit

13

2

1

2

1

13

1

2

1

13

3

1

31

31

3

13

1

F

r

r

F

L

r

r

F

A

A

F

F

A

F

A

p

p

p

p


15-51 A semispherical furnace is considered. The view factor from the dome of this furnace to its flat base is to be determined.

Assumptions The surfaces are diffuse emitters and reflectors.
Analysis We number the surfaces as follows:

(1):  circular base surface

(2):   dome surface

Surface (1) is flat, and thus  

.


[image: image143.wmf]1

1

   

:

rule

Summation 

12

12

11

=

®

=

+

F

F

F



[image: image144.wmf]0.5

=

=

=

=

=

¾

®

¾

=

2

1

2

4

)

1

(

A

  

:

rule

y 

reciprocit

2

2

2

1

12

2

1

21

21

2

12

1

D

D

A

A

F

A

A

F

F

A

F

p

p


15-52 Two view factors associated with three very long ducts with different geometries are to be determined.

Assumptions 1 The surfaces are diffuse emitters and reflectors. 2 End effects are neglected.
Analysis (a) Surface (1) is flat, and thus 
[image: image145.wmf]0

11

=

F

.


[image: image146.wmf]1

=

®

=

+

12

12

11

1

   

:

rule

summation 

F

F

F

 
[image: image147.wmf]0.64

=

=

÷

ø

ö

ç

è

æ

=

=

¾

®

¾

=

p

p

2

)

1

(

2

A

   

:

rule

y 

reciprocit

12

2

1

21

21

2

12

1

s

D

Ds

F

A

A

F

F

A

F


(b) Noting that surfaces 2 and 3 are symmetrical and thus 
[image: image148.wmf]13

12

F

F

=

, the summation rule gives



[image: image149.wmf]0.5

=

¾

®

¾

=

+

+

¾

®

¾

=

+

+

12

13

12

13

12

11

1

0

1

F

F

F

F

F

F


Also by using the equation obtained in Example 15-4,



[image: image150.wmf]0.5

=

=

=

-

+

=

-

+

=

2

1

2

2

2

1

3

2

1

12

a

a

a

b

b

a

L

L

L

L

F



[image: image151.wmf]2b

a

=

÷

ø

ö

ç

è

æ

=

=

¾

®

¾

=

2

1

A

  

:

rule

y 

reciprocit

12

2

1

21

21

2

12

1

b

a

F

A

A

F

F

A

F


(c) Applying the crossed-string method gives


[image: image152.wmf]a

b

b

a

2

2

-

+

=

-

+

=

+

-

+

=

=

a

b

b

a

L

L

L

L

L

F

F

2

2

2

2

)

(

)

(

2

2

1

4

3

6

5

21

12

     

15-53 View factors from the very long grooves shown in the figure to the surroundings are to be determined.

Assumptions 1 The surfaces are diffuse emitters and reflectors. 2 End effects are neglected.
Analysis (a) We designate the circular dome surface by (1) and the imaginary flat top surface by (2). Noting that (2) is flat, 


[image: image153.wmf]0

22

=

F



[image: image154.wmf]1

1

   

:

rule

summation 

21

22

21

=

¾

®

¾

=

+

F

F

F

 
[image: image155.wmf]0.64

=

=

=

=

¾

®

¾

=

p

p

2

)

1

(

2

A

 

:

rule

y 

reciprocit

21

1

2

12

21

2

12

1

D

D

F

A

A

F

F

A

F


(b) We designate the two identical surfaces of length b by (1) and (3), and the imaginary flat top surface by (2). Noting that (2) is flat,



[image: image156.wmf]0

22

=

F



[image: image157.wmf]5

.

0

1

  

:

rule

summation 

23

21

23

22

21

=

=

¾

®

¾

=

+

+

F

F

F

F

F

   (symmetry)


[image: image158.wmf]1

1

 

:

rule

 

summation 

)

3

1

(

2

)

3

1

(

2

22

=

¾

®

¾

=

+

+

®

+

®

F

F

F



[image: image159.wmf]2b

a

=

=

=

¾

®

¾

=

+

®

+

®

+

®

+

+

+

®

)

1

(

A

 

:

rule

y 

reciprocit

)

3

1

(

2

)

3

1

(

2

)

3

1

(

2

)

3

1

(

)

3

1

(

)

3

1

(

2

2

A

A

F

F

F

A

F

surr


(c) We designate the bottom surface by (1), the side surfaces by (2) and (3), and the imaginary top surface by (4). Surface 4 is flat and is completely surrounded by other surfaces. Therefore, 
[image: image160.wmf]0

44

=

F

 and 
[image: image161.wmf]1

)

3

2

1

(

4

=

+

+

®

F

.

  
[image: image162.wmf]2b

+

a

a

=

=

=

¾

®

¾

=

+

+

®

+

+

®

+

+

®

+

+

+

+

+

+

®

)

1

(

A

 

:

rule

y 

reciprocit

)

3

2

1

(

4

)

3

2

1

(

4

)

3

2

1

(

4

)

3

2

1

(

)

3

2

1

(

)

3

2

1

(

4

4

A

A

F

F

F

A

F

surr


15-54 The view factors from the base of a cube to each of the other five surfaces are to be determined.

Assumptions The surfaces are diffuse emitters and reflectors. 
Analysis Noting that 
[image: image163.wmf]1

/

/

2

1

=

=

D

L

D

L

, from Fig. 15-6 we read



[image: image164.wmf]2

.

0

12

=

F

                                                                             

Because of symmetry, we have



[image: image165.wmf]0.2

=

=

=

=

=

16

15

14

13

12

F

F

F

F

F


15-55 The view factor from the conical side surface to a hole located at the center of the base of a conical enclosure is to be determined.

Assumptions The conical side surface is diffuse emitter and reflector. 
Analysis We number different surfaces as

the hole located at the center of the base (1)


the base of conical enclosure                   (2)  


conical side surface                                 (3)

Surfaces 1 and 2 are flat, and they have no direct view of each other. Therefore,



[image: image166.wmf]0

21

12

22

11

=

=

=

=

F

F

F

F



[image: image167.wmf]1

1

   

:

rule

summation 

13

13

12

11

=

¾

®

¾

=

+

+

F

F

F

F



[image: image168.wmf]2Dh

d

2

=

¾

®

¾

=

¾

®

¾

=

31

31

2

31

3

13

1

2

)

1

(

4

A

  

:

rule

y 

reciprocit

F

F

Dh

d

F

A

F

p

p


15-56 The four view factors associated with an enclosure formed by two very long concentric cylinders are to be determined.

Assumptions 1 The surfaces are diffuse emitters and reflectors. 2 End effects are neglected.
Analysis We number different surfaces as

the outer surface of the inner cylinder (1)                                              


the inner surface of the outer cylinder (2)                                           

No radiation leaving surface 1 strikes itself and thus
[image: image169.wmf]0

=

11

F


All radiation leaving surface 1 strikes surface 2 and thus 
[image: image170.wmf]1

=

12

F



[image: image171.wmf]2

1

D

D

=

=

=

¾

®

¾

=

)

1

(

A

   

:

rule

y 

reciprocit

2

1

12

2

1

21

21

2

12

1

h

D

h

D

F

A

A

F

F

A

F

p

p



[image: image172.wmf]2

1

D

D

1

-

=

-

=

¾

®

¾

=

+

21

22

22

21

1

1

  

:

rule

summation 

F

F

F

F


15-57 The view factors between the rectangular surfaces shown in the figure are to be determined.

Assumptions The surfaces are diffuse emitters and reflectors.
Analysis We designate the different surfaces as follows:

shaded part of perpendicular surface by (1),


bottom part of perpendicular surface by (3),


shaded part of horizontal surface by  (2), and


front part of horizontal surface by (4).          

(a) From Fig.15-6                                                                             



[image: image173.wmf]25

.

0

3

1

3

1

23

1

2

=

ï

ï

þ

ï

ï

ý

ü

=

=

F

W

L

W

L

    and       
[image: image174.wmf]32

.

0

3

1

3

2

)

3

1

(

2

1

2

=

ï

ï

þ

ï

ï

ý

ü

=

=

+

®

F

W

L

W

L

                                                         


[image: image175.wmf]07

.

0

25

.

0

32

.

0

  

:

rule

ion 

superposit

23

)

3

1

(

2

21

23

21

)

3

1

(

2

=

-

=

-

=

¾

®

¾

+

=

+

®

+

®

F

F

F

F

F

F



[image: image176.wmf]0.07

=

=

¾

®

¾

=

¾

®

¾

=

21

12

21

2

12

1

2

1

  

:

rule

y 

reciprocit

F

F

F

A

F

A

A

A


(b) From Fig.15-6,

      
[image: image177.wmf]15

.

0

3

2

    

and

    

3

1

3

)

2

4

(

1

2

=

þ

ý

ü

=

=

®

+

F

W

L

W

L

    and     
[image: image178.wmf]22

.

0

3

2

    

and

     

3

2

)

3

1

(

)

2

4

(

1

2

=

þ

ý

ü

=

=

+

®

+

F

W

L

W

L

                                                 


[image: image179.wmf]07

.

0

15

.

0

22

.

0

  

:

rule

ion 

superposit

1

)

2

4

(

3

)

2

4

(

1

)

2

4

(

)

3

1

(

)

2

4

(

=

-

=

¾

®

¾

+

=

®

+

®

+

®

+

+

®

+

F

F

F

F



[image: image180.wmf]14

.

0

)

07

.

0

(

3

6

  

:

rule

y 

reciprocit

1

)

2

4

(

1

)

2

4

(

)

2

4

(

1

)

2

4

(

1

1

1

)

2

4

(

)

2

4

(

=

=

=

¾

®

¾

=

®

+

+

+

®

+

®

®

+

+

F

A

A

F

F

A

F

A



[image: image181.wmf]0.07

=

-

=

¾

®

¾

+

=

+

®

07

.

0

14

.

0

  

:

rule

ion 

superposit

14

12

14

)

2

4

(

1

F

F

F

F


since 

 = 0.07 (from part a). Note that 
[image: image182.wmf]14

F

 in part (b) is equivalent to 
[image: image183.wmf]12

F

 in part (a).  

(c) We designate 


shaded part of top surface by (1),


remaining part of top surface by (3),


remaining part of bottom surface by (4), and


shaded part of bottom surface by (2).

From Fig.15-5,


[image: image184.wmf]20

.

0

2

2

2

2

)

3

1

(

)

4

2

(

1

2

=

ï

ï

þ

ï

ï

ý

ü

=

=

+

®

+

F

D

L

D

L

   and   
[image: image185.wmf]12

.

0

2

1

2

2

14

1

2

=

ï

ï

þ

ï

ï

ý

ü

=

=

F

D

L

D

L

           


[image: image186.wmf]3

)

4

2

(

1

)

4

2

(

)

3

1

(

)

4

2

(

  

:

rule

ion 

superposit

®

+

®

+

+

®

+

+

=

F

F

F

  


[image: image187.wmf]3

)

4

2

(

1

)

4

2

(

  

:

rule

symmetry 

®

+

®

+

=

F

F


Substituting symmetry rule gives



[image: image188.wmf]10

.

0

2

20

.

0

2

)

3

1

(

)

4

2

(

3

)

4

2

(

1

)

4

2

(

=

=

=

=

+

®

+

®

+

®

+

F

F

F



[image: image189.wmf]20

.

0

)

10

.

0

)(

4

(

)

2

(

  

:

rule

y 

reciprocit

)

4

2

(

1

)

4

2

(

1

1

)

4

2

(

)

4

2

(

)

4

2

(

1

1

=

¾

®

¾

=

¾

®

¾

=

+

®

+

®

®

+

+

+

®

F

F

F

A

F

A



[image: image190.wmf]0.08

=

-

=

¾

®

¾

+

=

¾

®

¾

+

=

+

®

12

.

0

20

.

0

12

.

0

20

.

0

    

:

 

rule

ion 

superposit

12

12

14

12

)

4

2

(

1

F

F

F

F

F


15-58 The view factor between the two infinitely long parallel cylinders located a distance s apart from each other is to be determined.

Assumptions The surfaces are diffuse emitters and reflectors.
Analysis Using the crossed-strings method, the view factor between two cylinders facing each other for s/D > 3 is determined to be


[image: image191.wmf])

2

/

(

2

2

2

1

 

surface

on 

 

String

2

strings

 

Uncrossed

strings

 

Crossed

2

2

2

1

D

s

D

s

F

p

-

+

=

´

-

=

å

å

-


or

[image: image192.wmf]D

s

D

s

F

p

÷

ø

ö

ç

è

æ

-

+

=

-

2

2

2

1

2


15-59 Three infinitely long cylinders are located parallel to each other. The view factor between the cylinder in the middle and the surroundings is to be determined.

Assumptions The cylinder surfaces are diffuse emitters and reflectors.
Analysis The view factor between two cylinder facing each other is, from Prob. 15-17,



[image: image193.wmf]D

s

D

s

F

p

÷

ø

ö

ç

è

æ

-

+

=

-

2

2

2

1

2


Noting that the radiation leaving cylinder 1 that does not strike the cylinder will strike the surroundings, and this is also the case for the other half of the cylinder, the view factor between the cylinder in the middle and the surroundings becomes


[image: image194.wmf]D

s

D

s

F

F

surr

p

÷

ø

ö

ç

è

æ

-

+

-

=

-

=

-

-

2

2

2

1

1

4

1

2

1


Radiation Heat Transfer between Surfaces

15-60C The analysis of radiation exchange between black surfaces is relatively easy because of the absence of reflection. The rate of radiation heat transfer between two surfaces in this case is expressed as 
[image: image195.wmf])

(

4

2

4

1

12

1

T

T

F

A

Q

-

=

s

&

 where A1 is the surface area, F12 is the view factor, and T1 and T2 are the temperatures of two surfaces.

15-61C Radiosity is the total radiation energy leaving a surface per unit time and per unit area. Radiosity includes the emitted radiation energy as well as reflected energy. Radiosity and emitted energy are equal for blackbodies since a blackbody does not reflect any radiation.

15-62C Radiation surface resistance is given as 
[image: image196.wmf]i

i

i

i

A

R

e

e

-

=

1

 and it represents the resistance of a surface to the emission of radiation. It is zero for black surfaces. The space resistance is the radiation resistance between two surfaces and is expressed as 
[image: image197.wmf]ij

i

ij

F

A

R

1

=


15-63C The two methods used in radiation analysis are the matrix and network methods. In matrix method, equations 15-34 and 15-35 give N linear algebraic equations for the determination of the N unknown radiosities for an N -surface enclosure. Once the radiosities are available, the unknown surface temperatures and heat transfer rates can be determined from these equations respectively. This method involves the use of matrices especially when there are a large number of surfaces. Therefore this method requires some knowledge of linear algebra.


The network method involves drawing a surface resistance associated with each surface of an enclosure and connecting them with space resistances. Then the radiation problem is solved by treating it as an electrical network problem where the radiation heat transfer replaces the current and the radiosity replaces the potential. The network method is not practical for enclosures with more than three or four surfaces due to the increased complexity of the network.

15-64C Some surfaces encountered in numerous practical heat transfer applications are modeled as being adiabatic as the back sides of these surfaces are well insulated and net heat transfer through these surfaces is zero. When the convection effects on the front (heat transfer) side of such a surface is negligible and steady-state conditions are reached, the surface must lose as much radiation energy as it receives. Such a surface is called reradiating surface. In radiation analysis, the surface resistance of a reradiating surface is taken to be zero since there is no heat transfer through it.

15-65 A solid sphere is placed in an evacuated equilateral triangular enclosure. The view factor from the enclosure to the sphere and the emissivity of the enclosure are to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered.
Properties The emissivity of sphere is given to be  (1 = 0.45. 

Analysis (a) We take the sphere to be surface 1 and the surrounding enclosure to be surface 2. The view factor from surface 2 to surface 1 is determined from reciprocity relation:

  
[image: image198.wmf]0.605

=

=

=

=

-

=

-

=

=

=

=

21

21

21

2

12

1

2

2

2

2

2

2

2

2

2

1

)

196

.

5

(

)

1

)(

142

.

3

(

m

 

196

.

5

2

m

 

2

m)

 

1

(

m)

 

2

(

3

2

3

m

 

142

.

3

m)

 

1

(

F

F

F

A

F

A

L

D

L

A

D

A

p

p


(b) The net rate of radiation heat transfer can be expressed for this two-surface enclosure to yield the emissivity of the enclosure:

  
[image: image199.wmf](

)

(

)

(

)

[

]

0.78

=

-

+

+

-

-

×

´

=

-

+

+

-

-

=

-

2

2

2

2

2

2

4

4

4

2

8

2

2

2

12

1

1

1

1

4

2

4

1

)

m

 

196

.

5

(

1

)

1

)(

m

 

142

.

3

(

1

)

45

.

0

)(

m

 

142

.

3

(

45

.

0

1

K

 

380

K

 

500

)

K

 W/m

10

67

.

5

(

 W

3100

1

1

1

e

e

e

e

e

e

e

s

A

F

A

A

T

T

Q

&


15-66 Radiation heat transfer occurs between a sphere and a circular disk. The view factors and the net rate of radiation heat transfer for the existing and modified cases are to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered.
Properties The emissivities of sphere and disk are given to be (1 = 0.9 and (2 = 0.5, respectively. 

Analysis (a) We take the sphere to be surface 1 and the disk to be surface 2. The view factor from surface 1 to surface 2 is determined from



[image: image200.wmf]0.2764

=

ï

þ

ï

ý

ü

ï

î

ï

í

ì

ú

ú

û

ù

ê

ê

ë

é

÷

ø

ö

ç

è

æ

+

-

=

ï

þ

ï

ý

ü

ï

î

ï

í

ì

ú

ú

û

ù

ê

ê

ë

é

÷

÷

ø

ö

ç

ç

è

æ

+

-

=

-

-

5

.

0

2

5

.

0

2

2

12

m

 

60

.

0

m

 

2

.

1

1

1

5

.

0

1

1

5

.

0

h

r

F


The view factor from surface 2 to surface 1 is determined from reciprocity relation:

  
[image: image201.wmf]0.0691

=

=

=

=

=

=

=

=

=

21

21

21

2

12

1

2

2

2

2

2

2

2

2

1

1

)

524

.

4

(

)

2764

.

0

)(

131

.

1

(

m

 

524

.

4

m)

 

2

.

1

(

m

 

131

.

1

m)

 

3

.

0

(

4

4

F

F

F

A

F

A

r

A

r

A

p

p

p

p


(b) The net rate of radiation heat transfer between the surfaces can be determined from

  
[image: image202.wmf](

)

(

)

(

)

[

]

 W

8550

=

-

+

+

-

-

×

´

=

-

+

+

-

-

=

-

)

5

.

0

)(

m

 

524

.

4

(

5

.

0

1

)

2764

.

0

)(

m

 

131

.

1

(

1

)

9

.

0

)(

m

 

131

.

1

(

9

.

0

1

K

 

473

K

 

873

)

K

 W/m

10

67

.

5

(

1

1

1

2

2

2

4

4

4

2

8

2

2

2

12

1

1

1

1

4

2

4

1

e

e

e

e

s

A

F

A

A

T

T

Q

&


(c) The best values are 
[image: image203.wmf]m

 

.3

0

  

and

  

1

1

2

1

=

=

=

=

r

h

e

e

. Then the view factor becomes



[image: image204.wmf]3787

.

0

m

 

30

.

0

m

 

2

.

1

1

1

5

.

0

1

1

5

.

0

5

.

0

2

5

.

0

2

2

12

=

ï

þ

ï

ý

ü

ï

î

ï

í

ì

ú

ú

û

ù

ê

ê

ë

é

÷

ø

ö

ç

è

æ

+

-

=

ï

þ

ï

ý

ü

ï

î

ï

í

ì

ú

ú

û

ù

ê

ê

ë

é

÷

÷

ø

ö

ç

ç

è

æ

+

-

=

-

-

h

r

F


The net rate of radiation heat transfer in this case is

  
[image: image205.wmf](

)

(

)

(

)

[

]

 W

12,890

=

-

×

´

=

-

=

-

4

4

4

2

8

2

4

2

4

1

12

1

K

 

473

K

 

873

)

K

 W/m

10

67

.

5

)(

3787

.

0

)(

m

 

131

.

1

(

T

T

F

A

Q

s

&


15-67E Top and side surfaces of a cubical furnace are black, and are maintained at uniform temperatures. Net radiation heat transfer rate to the base from the top and side surfaces are to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered.
Properties The emissivities are given to be ( = 0.7 for the bottom surface and 1 for other surfaces. 

Analysis We consider the base surface to be surface 1, the top surface to be surface 2 and the side surfaces to be surface 3. The cubical furnace can be considered to be three-surface enclosure. The areas and blackbody emissive powers of surfaces are 


[image: image206.wmf]2

2

3

2

2

2

1

ft

 

400

)

ft

 

10

(

4

          

ft

 

100

)

ft

 

10

(

=

=

=

=

=

A

A

A



[image: image207.wmf]2

4

4

2

8

4

3

3

2

4

4

2

8

4

2

2

2

4

4

2

8

4

1

1

Btu/h.ft

 

866

,

56

)

R

 

2400

)(

R

.

Btu/h.ft

 

10

1714

.

0

(

Btu/h.ft

 

233

,

11

)

R

 

1600

)(

R

.

Btu/h.ft

 

10

1714

.

0

(

Btu/h.ft

 

702

)

R

 

800

)(

R

.

Btu/h.ft

 

10

1714

.

0

(

 

=

´

=

=

=

´

=

=

=

´

=

=

-

-

-

T

E

T

E

T

E

b

b

b

s

s

s

 

The view factor from the base to the top surface of the cube is 
[image: image208.wmf]2

.

0

12

=

F

. From the summation rule, the view factor from the base or  top to the side surfaces is 



[image: image209.wmf]8

.

0

2

.

0

1

1

1

12

13

13

12

11

=

-

=

-

=

¾

®

¾

=

+

+

F

F

F

F

F


since the base surface is flat and thus 
[image: image210.wmf]0

11

=

F

. Then the radiation resistances become



[image: image211.wmf]2

-

2

13

1

13

2

-

2

12

1

12

2

-

2

1

1

1

1

ft

 

0125

.

0

)

8

.

0

)(

ft

 

100

(

1

1

ft

 

0500

.

0

)

2

.

0

)(

ft

 

100

(

1

1

          

ft

 

0043

.

0

)

7

.

0

)(

ft

 

100

(

7

.

0

1

1

=

=

=

=

=

=

=

-

=

-

=

F

A

R

F

A

R

A

R

e

e


Note that the side and the top surfaces are black, and thus their radiosities are equal to their emissive powers. The radiosity of the base surface is determined
[image: image212.wmf]


[image: image213.wmf]0

13

1

3

12

1

2

1

1

1

=

-

+

-

+

-

R

J

E

R

J

E

R

J

E

b

b

b


Substituting,

[image: image214.wmf]2

1

1

1

1

 W/m

054

,

15

0

0125

.

0

866

,

56

05

.

0

233

,

11

0043

.

0

702

=

¾

®

¾

=

-

+

-

+

-

J

J

J

J


(a) The net rate of radiation heat transfer between the base and the side surfaces is



[image: image215.wmf]Btu/h

 

10

3.345

6

´

=

-

=

-

=

2

-

2

13

1

3

31

ft

 

0125

.

0

Btu/h.ft

 

)

054

,

15

866

,

56

(

R

J

E

Q

b

&


(b) The net rate of radiation heat transfer between the base and the top surfaces is



[image: image216.wmf]Btu/h

 

10

7.642

4

´

=

-

=

-

=

2

-

2

12

2

1

12

ft

 

05

.

0

Btu/h.ft

 

)

233

,

11

054

,

15

(

R

E

J

Q

b

&


The net rate of radiation heat transfer to the base surface is finally determined from 



[image: image217.wmf]Btu/h

 

10

3.269

6

´

=

+

-

=

+

=

960

,

344

,

3

420

,

76

31

21

1

Q

Q

Q

&

&

&


Discussion The same result can be found form



[image: image218.wmf]Btu/h

 

10

338

.

3

ft

 

0043

.

0

Btu/h.ft

 

)

702

054

,

15

(

6

2

-

2

1

1

1

1

´

=

-

=

-

=

R

E

J

Q

b

&


The small difference is due to round-off error.

15-68E EES Prob. 15-67E is reconsidered.  The effect of base surface emissivity on the net rates of radiation heat transfer between the base and the side surfaces, between the base and top surfaces, and to the base surface is to be investigated.

Analysis The problem is solved using EES, and the solution is given below.

"GIVEN"
a=10 [ft]

epsilon_1=0.7

T_1=800 [R]

T_2=1600 [R]

T_3=2400 [R]

"ANALYSIS"
sigma=0.1714E-8 [Btu/h-ft^2-R^4] “Stefan-Boltzmann constant"
"Consider the base surface 1, the top surface 2, and the side surface 3"
E_b1=sigma*T_1^4

E_b2=sigma*T_2^4

E_b3=sigma*T_3^4

A_1=a^2

A_2=A_1

A_3=4*a^2

F_12=0.2 "view factor from the base to the top of a cube"
F_11+F_12+F_13=1 "summation rule"
F_11=0 "since the base surface is flat"
R_1=(1-epsilon_1)/(A_1*epsilon_1) "surface resistance"
R_12=1/(A_1*F_12) "space resistance"
R_13=1/(A_1*F_13) "space resistance"
(E_b1-J_1)/R_1+(E_b2-J_1)/R_12+(E_b3-J_1)/R_13=0 "J_1 : radiosity of base surface"
"(a)"
Q_dot_31=(E_b3-J_1)/R_13

"(b)"
Q_dot_12=(J_1-E_b2)/R_12

Q_dot_21=-Q_dot_12

Q_dot_1=Q_dot_21+Q_dot_31

	(1
	Q31 [Btu/h]
	Q12 [Btu/h]
	Q1 [Btu/h]

	0.1
	1.106E+06
	636061
	470376

	0.15
	1.295E+06
	589024
	705565

	0.2
	1.483E+06
	541986
	940753

	0.25
	1.671E+06
	494948
	1.176E+06

	0.3
	1.859E+06
	447911
	1.411E+06

	0.35
	2.047E+06
	400873
	1.646E+06

	0.4
	2.235E+06
	353835
	1.882E+06

	0.45
	2.423E+06
	306798
	2.117E+06

	0.5
	2.612E+06
	259760
	2.352E+06

	0.55
	2.800E+06
	212722
	2.587E+06

	0.6
	2.988E+06
	165685
	2.822E+06

	0.65
	3.176E+06
	118647
	3.057E+06

	0.7
	3.364E+06
	71610
	3.293E+06

	0.75
	3.552E+06
	24572
	3.528E+06

	0.8
	3.741E+06
	-22466
	3.763E+06

	0.85
	3.929E+06
	-69503
	3.998E+06

	0.9
	4.117E+06
	-116541
	4.233E+06


[image: image219.emf]0.1 0.2 0.3 0.4 0.5 0.6 0.7 0.8 0.9

1.0

x

10

6

1.5

x

10

6

2.0

x

10

6

2.5

x

10

6

3.0

x

10

6

3.5

x

10

6

4.0

x

10

6

4.5

x

10

6



1

Q

3

1

 

 

[

B

t

u

/

h

]


[image: image220.emf]0.1 0.2 0.3 0.4 0.5 0.6 0.7 0.8 0.9

-200000

-100000

0

100000

200000

300000

400000

500000

600000

700000



1



1

Q

1

2

 

 

[

B

t

u

/

h

]


[image: image221.emf]0.1 0.2 0.3 0.4 0.5 0.6 0.7 0.8 0.9

0.0

x

10

0

5.0

x

10

5

1.0

x

10

6

1.5

x

10

6

2.0

x

10

6

2.5

x

10

6

3.0

x

10

6

3.5

x

10

6

4.0

x

10

6

4.5

x

10

6



1



1

Q

1

 

 

[

B

t

u

/

h

]


15-69 Two very large parallel plates are maintained at uniform temperatures. The net rate of radiation heat transfer between the two plates is to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered.
Properties The emissivities ( of the plates are given to be 0.5 and 0.9. 

Analysis The net rate of radiation heat transfer between the two surfaces per unit area of the plates is determined directly from


[image: image222.wmf]2

 W/m

2793

=

-

+

-

×

´

=

-

+

-

=

-

1

9

.

0

1

5

.

0

1

]

)

K

 

400

(

)

K

 

600

)[(

K

 W/m

10

67

.

5

(

1

1

1

)

(

4

4

4

2

8

2

1

4

2

4

1

12

e

e

s

T

T

A

Q

s

&


15-70 EES Prob. 15-69 is reconsidered.  The effects of the temperature and the emissivity of the hot plate on the net rate of radiation heat transfer between the plates are to be investigated.

Analysis The problem is solved using EES, and the solution is given below.

"GIVEN"
T_1=600 [K]

T_2=400 [K]

epsilon_1=0.5

epsilon_2=0.9

sigma=5.67E-8 [W/m^2-K^4] “Stefan-Boltzmann constant"
"ANALYSIS"
q_dot_12=(sigma*(T_1^4-T_2^4))/(1/epsilon_1+1/epsilon_2-1)

	T1 [K]
	q12 [W/m2]

	500
	991.1

	525
	1353

	550
	1770

	575
	2248

	600
	2793

	625
	3411

	650
	4107

	675
	4888

	700
	5761

	725
	6733

	750
	7810

	775
	9001

	800
	10313

	825
	11754

	850
	13332

	875
	15056

	900
	16934

	925
	18975

	950
	21188

	975
	23584

	1000
	26170


	(1
	q12 [W/m2]

	0.1
	583.2

	0.15
	870

	0.2
	1154

	0.25
	1434

	0.3
	1712

	0.35
	1987

	0.4
	2258

	0.45
	2527

	0.5
	2793

	0.55
	3056

	0.6
	3317

	0.65
	3575

	0.7
	3830

	0.75
	4082

	0.8
	4332

	0.85
	4580

	0.9
	4825


15-71 The base, top, and side surfaces of a furnace of cylindrical shape are black, and are maintained at uniform temperatures. The net rate of radiation heat transfer to or from the top surface is to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are black. 3 Convection heat transfer is not considered.
Properties The emissivity of all surfaces are ( = 1 since they are black. 

Analysis We consider the top surface to be surface 1, the base surface to be surface 2 and the side surfaces to be surface 3. The cylindrical furnace can be considered to be three-surface enclosure. We assume that steady-state conditions exist. Since all surfaces are black, the radiosities are equal to the emissive power of surfaces, and the net rate of radiation heat transfer from the top surface can be determined from



[image: image223.wmf])

(

)

(

4

3

4

1

13

1

4

2

4

1

12

1

T

T

F

A

T

T

F

A

Q

-

+

-

=

s

s

&


and

[image: image224.wmf]2

2

2

1

m

 

57

.

12

)

m

 

2

(

=

=

=

p

p

r

A


The view factor from the base to the top surface of the cylinder is 
[image: image225.wmf]38

.

0

12

=

F

 (From Figure 15-7). The view factor from the base to the side surfaces is determined by applying the summation rule to be



[image: image226.wmf]62

.

0

38

.

0

1

1

1

12

13

13

12

11

=

-

=

-

=

¾

®

¾

=

+

+

F

F

F

F

F


Substituting,



[image: image227.wmf]kW

 

-1543

=

´

-

=

´

+

´

=

-

+

-

=

 W

10

543

.

1

)

K

 

1400

-

K

 

)(700

.K

 W/m

10

67

.

5

)(

62

.

0

)(

m

 

57

.

12

(

)

K

 

500

-

K

 

)(700

.K

 W/m

10

67

)(0.38)(5.

m

 

(12.57

)

(

)

(

6

4

4

4

2

8

-

2

4

4

4

2

8

-

2

4

3

4

1

13

1

4

2

4

1

12

1

T

T

F

A

T

T

F

A

Q

s

s

&


Discussion The negative sign indicates that net heat transfer is to the top surface.

15-72 The base and the dome of a hemispherical furnace are maintained at uniform temperatures. The net rate of radiation heat transfer from the dome to the base surface is to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered.
Analysis The view factor is first determined from 



[image: image228.wmf]rule)

 

(summation

  

1

1

surface)

(flat 

  

0

12

12

11

11

=

®

=

+

=

F

F

F

F


Noting that the dome is black, net rate of radiation heat transfer from dome to the base surface can be determined from



[image: image229.wmf]kW

 

759

=

´

=

-

×

´

-

=

-

-

=

-

=

-

 W

10

594

.

7

]

)

K

 

1000

(

)

K

 

400

)[(

K

 W/m

10

67

.

5

)(

1

](

 

/4

)

m

 

5

(

)[

7

.

0

(

     

)

(

5

4

4

4

2

8

2

4

2

4

1

12

1

12

21

p

s

e

T

T

F

A

Q

Q

&

&


The positive sign indicates that the net heat transfer is from the dome to the base surface, as expected.

15-73 Two very long concentric cylinders are maintained at uniform temperatures. The net rate of radiation heat transfer between the two cylinders is to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered.
Properties The emissivities of surfaces are given to be (1 = 1 and (2 = 0.55. 

Analysis The net rate of radiation heat transfer between the two cylinders per unit length of the cylinders is determined from


[image: image230.wmf]kW

 

29.81

=

=

÷

ø

ö

ç

è

æ

-

+

-

×

´

=

÷

÷

ø

ö

ç

ç

è

æ

-

+

-

=

-

 W

810

,

29

5

5

.

3

55

.

0

55

.

0

1

1

1

]

)

K

 

500

(

K)

 

950

)[(

K

 W/m

10

67

.

5

](

m)

 

m)(1

 

35

.

0

(

[

1

1

)

(

4

4

4

2

8

2

1

2

2

1

4

2

4

1

1

12

p

e

e

e

s

r

r

T

T

A

Q

&


15-74 A long cylindrical rod coated with a new material is placed in an evacuated long cylindrical enclosure which is maintained at a uniform temperature. The emissivity of the coating on the rod is to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 
Properties The emissivity of the enclosure is given to be         (2 = 0.95. 

Analysis The emissivity of the coating on the rod is determined from



[image: image231.wmf](

)

(

)

÷

ø

ö

ç

è

æ

-

+

-

×

´

=

÷

÷

ø

ö

ç

ç

è

æ

-

+

-

=

-

10

1

95

.

0

95

.

0

1

1

]

K

 

200

K

 

500

)[

K

 W/m

10

67

.

5

](

m)

 

m)(1

 

01

.

0

(

[

 W

8

1

1

)

(

1

4

4

4

2

8

2

1

2

2

1

4

2

4

1

1

12

e

p

e

e

e

s

r

r

T

T

A

Q

&


which gives

(1 = 0.074
15-75E The base and the dome of a long semicylindrical duct are maintained at uniform temperatures. The net rate of radiation heat transfer from the dome to the base surface is to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered.
Properties The emissivities of surfaces are given to be (1 = 0.5 and (2 = 0.9. 

Analysis The view factor from the base to the dome is first determined from 



[image: image232.wmf]rule)

 

(summation

  

1

1

surface)

(flat 

  

0

12

12

11

11

=

®

=

+

=

F

F

F

F


The net rate of radiation heat transfer from dome to the base surface can be determined from

      
[image: image233.wmf]length

ft 

per 

)

9

.

0

(

2

ft)

 

1

)(

ft

 

15

(

9

.

0

1

)

1

)(

ft

 

15

(

1

)

5

.

0

)(

ft

 

15

(

5

.

0

1

]

R)

 

1800

(

)

R

 

550

)[(

R

Btu/h.ft

 

10

1714

.

0

(

1

1

1

)

(

2

2

4

4

4

2

8

2

2

2

12

1

1

1

1

4

2

4

1

12

21

   

Btu/h

 

129,200

=

ú

û

ù

ê

ë

é

-

+

+

-

-

×

´

-

=

-

+

+

-

-

-

=

-

=

-

p

e

e

e

e

s

A

F

A

A

T

T

Q

Q

&

&


The positive sign indicates that the net heat transfer is from the dome to the base surface, as expected.

15-76 Two parallel disks whose back sides are insulated are black, and are maintained at a uniform temperature. The net rate of radiation heat transfer from the disks to the environment is to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered.
Properties The emissivities of all surfaces are ( = 1 since they are black. 

Analysis Both disks possess same properties and they are black. Noting that environment can also be considered to be blackbody, we can treat this geometry as a three surface enclosure. We consider the two disks to be surfaces 1 and 2 and the environment to be surface 3. Then from Figure 15-7, we read



[image: image234.wmf])

rule

summation 

(

     

74

.

0

26

.

0

1

  

26

.

0

13

21

12

=

-

=

=

=

F

F

F


The net rate of radiation heat transfer from the disks into the environment then becomes 


[image: image235.wmf](

)

(

)

 W

781

=

-

×

´

=

-

=

=

+

=

-

]

K

 

300

K

 

450

)[

K

 W/m

10

67

.

5

](

)

m

 

3

.

0

(

)[

74

.

0

(

2

     

)

(

2

2

4

4

4

2

8

2

4

3

4

1

1

13

3

13

23

13

3

p

s

T

T

A

F

Q

Q

Q

Q

Q

&

&

&

&

&


15-77 A furnace shaped like a long equilateral-triangular duct is considered. The temperature of the base surface is to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered. 4 End effects are neglected.
Properties The emissivities of surfaces are given to be  (1 = 0.8 and (2 = 0.5. 

Analysis This geometry can be treated as a two surface enclosure since two surfaces have identical properties. We consider base surface to be surface 1 and other two surface to be surface 2. Then the view factor between the two becomes 
[image: image236.wmf]1

12

=

F

. The temperature of the base surface is determined from

  
[image: image237.wmf](

)

(

)

K

 

543

=

-

+

+

-

-

×

´

=

-

+

+

-

-

=

-

1

2

2

2

4

4

1

4

2

8

2

2

2

12

1

1

1

1

4

2

4

1

12

)

5

.

0

(

)

m

 

2

(

5

.

0

1

)

1

)(

m

 

1

(

1

)

8

.

0

)(

m

 

1

(

8

.

0

1

]

K

 

500

)[

K

 W/m

10

67

.

5

(

 W

800

1

1

1

)

(

T

T

A

F

A

A

T

T

Q

e

e

e

e

s

&


Note that 
[image: image238.wmf]2

2

2

1

m

 

2

  

and

  

m

 

1

=

=

A

A

.

15-78 EES Prob. 15-77 is reconsidered.  The effects of the rate of the heat transfer at the base surface and the temperature of the side surfaces on the temperature of the base surface are to be investigated.

Analysis The problem is solved using EES, and the solution is given below.

"GIVEN"
a=2 [m]

epsilon_1=0.8

epsilon_2=0.5

Q_dot_12=800 [W]

T_2=500 [K]

sigma=5.67E-8 [W/m^2-K^4]

"ANALYSIS"
"Consider the base surface to be surface 1, the side surfaces to be surface 2"
Q_dot_12=(sigma*(T_1^4-T_2^4))/((1-epsilon_1)/(A_1*epsilon_1)+1/(A_1*F_12)+(1-epsilon_2)/(A_2*epsilon_2))

F_12=1

A_1=1 "[m^2], since rate of heat supply is given per meter square area"
A_2=2*A_1

	Q12 [W]
	T1 [K]

	500
	528.4

	525
	529.7

	550
	531

	575
	532.2

	600
	533.5

	625
	534.8

	650
	536

	675
	537.3

	700
	538.5

	725
	539.8

	750
	541

	775
	542.2

	800
	543.4

	825
	544.6

	850
	545.8

	875
	547

	900
	548.1

	925
	549.3

	950
	550.5

	975
	551.6

	1000
	552.8


	T2 [K]
	T1 [K]

	300
	425.5

	325
	435.1

	350
	446.4

	375
	459.2

	400
	473.6

	425
	489.3

	450
	506.3

	475
	524.4

	500
	543.4

	525
	563.3

	550
	583.8

	575
	605

	600
	626.7

	625
	648.9

	650
	671.4

	675
	694.2

	700
	717.3


15-79 The floor and the ceiling of a cubical furnace are maintained at uniform temperatures. The net rate of radiation heat transfer between the floor and the ceiling is to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered.
Properties The emissivities of all surfaces are  ( = 1 since they are black or reradiating. 

Analysis We consider the ceiling to be surface 1, the floor to be surface 2 and the side surfaces to be surface 3. The furnace can be considered to be three-surface enclosure. We assume that steady-state conditions exist. Since the side surfaces are reradiating, there is no heat transfer through them, and the entire heat lost by the ceiling must be gained by the floor. The view factor from the ceiling to the floor of the furnace is 
[image: image239.wmf]2

.

0

12

=

F

. Then the rate of heat loss from the ceiling can be determined from



[image: image240.wmf]1

23

13

12

2

1

1

1

1

-

÷

÷

ø

ö

ç

ç

è

æ

+

+

-

=

R

R

R

E

E

Q

b

b

&


where

   
[image: image241.wmf]2

4

4

2

8

4

2

2

2

4

4

2

8

4

1

1

 W/m

5188

)

K

 

550

)(

K

.

 W/m

10

67

.

5

(

 W/m

015

,

83

)

K

 

1100

)(

K

.

 W/m

10

67

.

5

(

=

´

=

=

=

´

=

=

-

-

T

E

T

E

b

b

s

s

 

and



[image: image242.wmf]2

2

2

1

m

 

16

)

m

 

4

(

=

=

=

A

A




[image: image243.wmf]2

-

2

13

1

23

13

2

-

2

12

1

12

m

 

078125

.

0

)

8

.

0

)(

m

 

16

(

1

1

m

 

3125

.

0

)

2

.

0

)(

m

 

16

(

1

1

=

=

=

=

=

=

=

F

A

R

R

F

A

R


Substituting,



[image: image244.wmf]kW

 

747

=

´

=

÷

÷

ø

ö

ç

ç

è

æ

+

-

=

-

 W

10

47

.

7

)

m

 

078125

.

0

(

2

1

m

 

3125

.

0

1

 W/m

)

5188

015

,

83

(

5

1

2

-

2

-

2

12

Q

&


15-80 Two concentric spheres are maintained at uniform temperatures. The net rate of radiation heat transfer between the two spheres and the convection heat transfer coefficient at the outer surface are to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray.  
Properties The emissivities of surfaces are given to be (1 = 0.5 and (2 = 0.7.

Analysis The net rate of radiation heat transfer between the two spheres is 


[image: image245.wmf](

)

[

]

(

)

(

)

(

)

[

]

 W

1270

=

÷

ø

ö

ç

è

æ

-

+

-

×

´

=

÷

÷

ø

ö

ç

ç

è

æ

-

+

-

=

-

2

4

4

4

2

8

2

2

2

2

1

2

2

1

4

2

4

1

1

12

m

 

2

.

0

m

 

15

.

0

7

.

0

7

.

0

1

5

.

0

1

K

 

500

K

 

700

K

 W/m

10

67

.

5

m)

 

3

.

0

(

1

1

p

e

e

e

s

r

r

T

T

A

Q

&


Radiation heat transfer rate from the outer sphere to the surrounding surfaces are


[image: image246.wmf]W

539

]

)

K

 

273

30

(

)

K

 

500

)[(

K

 W/m

10

67

.

5

](

m)

 

4

.

0

(

)[

1

)(

35

.

0

(

    

)

(

4

4

4

2

8

2

4

4

2

2

 

=

+

-

×

´

=

-

=

-

p

s

e

surr

rad

T

T

FA

Q

&


The convection heat transfer rate at the outer surface of the cylinder is determined from requirement that heat transferred from the inner sphere to the outer sphere must be equal to the heat transfer from the outer surface of the outer sphere to the environment by convection and radiation. That is,



[image: image247.wmf] W

731

539

1270

12

=

-

=

-

=

rad

conv

Q

Q

Q

&

&

&


Then the convection heat transfer coefficient becomes



[image: image248.wmf](

)

[

]

C

 W/m

7.4

2

°

×

=

=

-

=

¥

h

h

T

T

hA

Q

conv

K)

 

303

-

K

 

(500

m)

 

4

.

0

(

 W

731

2

2

2

.

p

&


15-81 A spherical tank filled with liquid nitrogen is kept in an evacuated cubic enclosure. The net rate of radiation heat transfer to the liquid nitrogen is to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered. 4 The thermal resistance of the tank is negligible.
Properties The emissivities of surfaces are given to be  (1 = 0.1 and (2 = 0.8. 

Analysis We take the sphere to be surface 1 and the surrounding cubic enclosure to be surface 2. Noting that 
[image: image249.wmf]1

12

=

F

, for this two-surface enclosure, the net rate of radiation heat transfer to liquid nitrogen can be determined from 

 
[image: image250.wmf](

)

[

]

(

)

(

)

(

)

[

]

 W

228

=

ú

ú

û

ù

ê

ê

ë

é

-

+

-

×

´

-

=

÷

÷

ø

ö

ç

ç

è

æ

-

+

-

-

=

-

=

-

2

2

4

4

4

2

8

2

2

1

2

2

1

4

2

4

1

1

12

21

m)

 

6(3

m)

 

2

(

8

.

0

8

.

0

1

1

.

0

1

K

 

240

K

 

100

K

 W/m

10

67

.

5

m)

 

2

(

1

1

p

p

e

e

e

s

A

A

T

T

A

Q

Q

&

&


15-82 A spherical tank filled with liquid nitrogen is kept in an evacuated spherical enclosure. The net rate of radiation heat transfer to the liquid nitrogen is to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered. 4 The thermal resistance of the tank is negligible.
Properties The emissivities of surfaces are given to be  (1 = 0.1 and (2 = 0.8. 

Analysis The net rate of radiation heat transfer to liquid nitrogen can be determined from 

 
[image: image251.wmf](

)

[

]

(

)

(

)

(

)

[

]

 W

227

=

ú

ú

û

ù

ê

ê

ë

é

-

+

-

×

´

=

÷

÷

ø

ö

ç

ç

è

æ

-

+

-

=

-

2

2

4

4

4

2

8

2

2

2

2

1

2

2

1

4

2

4

1

1

12

m)

 

(1.5

m)

 

1

(

8

.

0

8

.

0

1

1

.

0

1

K

 

100

K

 

240

K

 W/m

10

67

.

5

m)

 

2

(

1

1

p

e

e

e

s

r

r

T

T

A

Q

&


15-83 EES Prob. 15-81 is reconsidered.  The effects of the side length and the emissivity of the cubic enclosure, and the emissivity of the spherical tank on the net rate of radiation heat transfer are to be investigated.

Analysis The problem is solved using EES, and the solution is given below.

"GIVEN"
D=2 [m]

a=3 [m]

T_1=100 [K]

T_2=240 [K]

epsilon_1=0.1

epsilon_2=0.8

sigma=5.67E-8 [W/m^2-K^4] “Stefan-Boltzmann constant"
"ANALYSIS"
"Consider the sphere to be surface 1, the surrounding cubic enclosure to be surface 2"
Q_dot_12=(A_1*sigma*(T_1^4-T_2^4))/(1/epsilon_1+(1-epsilon_2)/epsilon_2*(A_1/A_2))

Q_dot_21=-Q_dot_12

A_1=pi*D^2

A_2=6*a^2

	a [m]
	Q21 [W]

	2.5
	227.4

	2.625
	227.5

	2.75
	227.7

	2.875
	227.8

	3
	227.9

	3.125
	228

	3.25
	228.1

	3.375
	228.2

	3.5
	228.3

	3.625
	228.4

	3.75
	228.4

	3.875
	228.5

	4
	228.5

	4.125
	228.6

	4.25
	228.6

	4.375
	228.6

	4.5
	228.7

	4.625
	228.7

	4.75
	228.7

	4.875
	228.8

	5
	228.8


	(1
	Q21 [W]

	0.1
	227.9

	0.15
	340.9

	0.2
	453.3

	0.25
	565

	0.3
	676

	0.35
	786.4

	0.4
	896.2

	0.45
	1005

	0.5
	1114

	0.55
	1222

	0.6
	1329

	0.65
	1436

	0.7
	1542

	0.75
	1648

	0.8
	1753

	0.85
	1857

	0.9
	1961


	(2
	Q21 [W]

	0.1
	189.6

	0.15
	202.6

	0.2
	209.7

	0.25
	214.3

	0.3
	217.5

	0.35
	219.8

	0.4
	221.5

	0.45
	222.9

	0.5
	224.1

	0.55
	225

	0.6
	225.8

	0.65
	226.4

	0.7
	227

	0.75
	227.5

	0.8
	227.9

	0.85
	228.3

	0.9
	228.7


15-84 A circular grill is considered. The bottom of the grill is covered with hot coal bricks, while the wire mesh on top of the grill is covered with steaks. The initial rate of radiation heat transfer from coal bricks to the steaks is to be determined for two cases.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered.
Properties The emissivities are  ( = 1 for all surfaces since they are black or reradiating. 

Analysis We consider the coal bricks to be surface 1, the steaks to be surface 2 and the side surfaces to be surface 3. First we determine the view factor between the bricks and the steaks (Table 15-3),



[image: image252.wmf]75

.

0

m

 

0.20

m

 

15

.

0

=

=

=

=

L

r

R

R

i

j

i




[image: image253.wmf]7778

.

3

0.75

75

.

0

1

1

1

2

2

2

2

=

+

=

+

+

=

i

j

R

R

S




[image: image254.wmf]2864

.

0

75

.

0

75

.

0

4

7778

.

3

7778

.

3

2

1

4

2

1

2

/

1

2

2

2

/

1

2

2

12

=

ï

þ

ï

ý

ü

ï

î

ï

í

ì

ú

ú

û

ù

ê

ê

ë

é

÷

ø

ö

ç

è

æ

-

-

=

ï

þ

ï

ý

ü

ï

î

ï

í

ì

ú

ú

û

ù

ê

ê

ë

é

÷

÷

ø

ö

ç

ç

è

æ

-

-

=

=

i

j

ij

R

R

S

S

F

F


(It can also be determined from Fig. 15-7). 

Then the initial rate of radiation heat transfer from the coal bricks to the stakes becomes



[image: image255.wmf] W

928

=

-

×

´

=

-

=

-

]

)

K

 

278

(

)

K

 

950

)[(

K

 W/m

10

67

.

5

](

4

/

m)

 

3

.

0

(

)[

2864

.

0

(

)

(

4

4

4

2

8

2

4

2

4

1

1

12

12

p

s

T

T

A

F

Q

&


When the side opening is closed with aluminum foil, the entire heat lost by the coal bricks must be gained by the stakes since there will be no heat transfer through a reradiating surface. The grill can be considered to be three-surface enclosure. Then the rate of heat loss from the coal bricks can be determined from



[image: image256.wmf]1

23

13

12

2

1

1

1

1

-

÷

÷

ø

ö

ç

ç

è

æ

+

+

-

=

R

R

R

E

E

Q

b

b

&


where

[image: image257.wmf]2

4

4

2

8

4

2

2

2

4

4

2

8

4

1

1

 W/m

339

)

K

 

273

5

)(

K

.

 W/m

10

67

.

5

(

 W/m

183

,

46

)

K

 

950

)(

K

.

 W/m

10

67

.

5

(

        

=

+

´

=

=

=

´

=

=

-

-

T

E

T

E

b

b

s

s

 

and

[image: image258.wmf]2

2

2

1

m

 

07069

.

0

4

)

m

 

3

.

0

(

=

=

=

p

A

A




[image: image259.wmf]2

-

2

13

1

23

13

2

-

2

12

1

12

m

 

82

.

19

)

2864

.

0

1

)(

m

 

07069

.

0

(

1

1

m

 

39

.

49

)

2864

.

0

)(

m

 

07069

.

0

(

1

1

=

-

=

=

=

=

=

=

F

A

R

R

F

A

R


Substituting,

[image: image260.wmf] W

2085

=

÷

÷

ø

ö

ç

ç

è

æ

+

-

=

-

1

2

-

2

-

2

12

)

m

 

82

.

19

(

2

1

m

 

39

.

49

1

 W/m

)

339

183

,

46

(

Q

&


15-85E A room is heated by electric resistance heaters placed on the ceiling which is maintained at a uniform temperature. The rate of heat loss from the room through the floor is to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered. 4 There is no heat loss through the side surfaces.
Properties The emissivities are ( = 1 for the ceiling and ( = 0.8 for the floor. The emissivity of insulated (or reradiating) surfaces is also 1.

Analysis The room can be considered to be three-surface enclosure with the ceiling surface 1, the floor surface 2 and the side surfaces surface 3. We assume steady-state conditions exist. Since the side surfaces are reradiating, there is no heat transfer through them, and the entire heat lost by the ceiling must be gained by the floor. Then the rate of heat loss from the room through its floor can be determined from



[image: image261.wmf]2

1

23

13

12

2

1

1

1

1

R

R

R

R

E

E

Q

b

b

+

÷

÷

ø

ö

ç

ç

è

æ

+

+

-

=

-

&


where


[image: image262.wmf]2

4

4

2

8

4

2

2

2

4

4

2

8

4

1

1

Btu/h.ft

 

130

)

R

 

460

65

)(

R

.

Btu/h.ft

 

10

1714

.

0

(

Btu/h.ft

 

157

)

R

 

460

90

)(

R

.

Btu/h.ft

 

10

1714

.

0

(

=

+

´

=

=

=

+

´

=

=

-

-

T

E

T

E

b

b

s

s


and



[image: image263.wmf]2

2

2

1

ft

 

144

)

ft

 

12

(

=

=

=

A

A


The view factor from the floor to the ceiling of the room is 
[image: image264.wmf]27

.

0

12

=

F

 (From Figure 15-5). The view factor from the ceiling or the floor to the side surfaces is determined by applying the summation rule to be



[image: image265.wmf]73

.

0

27

.

0

1

1

1

12

13

13

12

11

=

-

=

-

=

¾

®

¾

=

+

+

F

F

F

F

F


since the ceiling is flat and thus 
[image: image266.wmf]0

11

=

F

. Then the radiation resistances which appear in the equation above become



[image: image267.wmf]2

-

2

13

1

23

13

2

-

2

12

1

12

2

-

2

2

2

2

2

ft

 

009513

.

0

)

73

.

0

)(

ft

 

144

(

1

1

ft

 

02572

.

0

)

27

.

0

)(

ft

 

144

(

1

1

ft

 

00174

.

0

)

8

.

0

)(

ft

 

144

(

8

.

0

1

1

=

=

=

=

=

=

=

=

-

=

-

=

F

A

R

R

F

A

R

A

R

e

e


Substituting,



[image: image268.wmf]Btu/h

 

2130

=

+

÷

÷

ø

ö

ç

ç

è

æ

+

-

=

-

2

-

1

2

-

2

-

2

12

ft

 

00174

.

0

)

ft

 

009513

.

0

(

2

1

ft

 

02572

.

0

1

Btu/h.ft

 

)

130

157

(

Q

&


15-86 Two perpendicular rectangular surfaces with a common edge are maintained at specified temperatures. The net rate of radiation heat transfers between the two surfaces and between the horizontal surface and the surroundings are to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered.
Properties The emissivities of the horizontal rectangle and the surroundings are ( = 0.75 and ( = 0.85, respectively. 

Analysis We consider the horizontal rectangle to be surface 1, the vertical rectangle to be surface 2 and the surroundings to be surface 3. This system can be considered to be a three-surface enclosure. The view factor from surface 1 to surface 2 is determined from



[image: image269.wmf]27

.

0

75

.

0

6

.

1

2

.

1

5

.

0

6

.

1

8

.

0

12

2

1

=

ï

ï

þ

ï

ï

ý

ü

=

=

=

=

F

W

L

W

L

 (Fig. 15-6)

The surface areas are 


[image: image270.wmf]2

2

2

1

m

 

92

.

1

)

m

 

6

.

1

)(

m

 

2

.

1

(

m

 

28

.

1

)

m

 

6

.

1

)(

m

 

8

.

0

(

=

=

=

=

A

A



[image: image271.wmf]2

2

2

3

m

 

268

.

3

6

.

1

2

.

1

8

.

0

2

8

.

0

2

.

1

2

=

´

+

+

´

´

=

A


Note that the surface area of the surroundings is determined assuming that surroundings forms flat surfaces at all openings to form an enclosure. Then other view factors are determined to be 


[image: image272.wmf]18

.

0

)

92

.

1

(

)

27

.

0

)(

28

.

1

(

21

21

21

2

12

1

=

¾

®

¾

=

¾

®

¾

=

F

F

F

A

F

A



(reciprocity rule)



[image: image273.wmf]73

.

0

1

27

.

0

0

1

13

13

13

12

11

=

¾

®

¾

=

+

+

¾

®

¾

=

+

+

F

F

F

F

F



(summation rule)



[image: image274.wmf]82

.

0

1

0

18

.

0

1

23

23

23

22

21

=

¾

®

¾

=

+

+

¾

®

¾

=

+

+

F

F

F

F

F



(summation rule)


[image: image275.wmf]29

.

0

)

268

.

3

(

)

73

.

0

)(

28

.

1

(

31

31

31

3

13

1

=

¾

®

¾

=

¾

®

¾

=

F

F

F

A

F

A


(reciprocity rule)


[image: image276.wmf]48

.

0

)

268

.

3

(

)

82

.

0

)(

92

.

1

(

32

32

32

3

23

2

=

¾

®

¾

=

¾

®

¾

=

F

F

F

A

F

A


(reciprocity rule)

We now apply Eq. 15-35b to each surface to determine the radiosities.

Surface 1:

[image: image277.wmf][

]

[

]

)

(

73

.

0

)

(

27

.

0

75

.

0

75

.

0

1

)

K

 

400

)(

K

.

 W/m

10

67

.

5

(

)

(

)

(

1

        

3

1

2

1

1

4

4

2

8

3

1

13

2

1

12

1

1

1

4

1

J

J

J

J

J

J

J

F

J

J

F

J

T

-

+

-

-

+

=

´

-

+

-

-

+

=

-

e

e

s

 

Surface 2:

[image: image278.wmf]2

4

4

2

8

2

4

2

)

K

 

550

)(

K

.

 W/m

10

67

.

5

(

        

J

J

T

=

´

¾

®

¾

=

-

s

 

Surface 3:

[image: image279.wmf][

]

[

]

)

(

48

.

0

)

(

29

.

0

85

.

0

85

.

0

1

)

K

 

290

)(

K

.

 W/m

10

67

.

5

(

)

(

)

(

1

        

2

3

1

3

3

4

4

2

8

2

3

32

1

3

31

3

3

3

4

3

J

J

J

J

J

J

J

F

J

J

F

J

T

-

+

-

-

+

=

´

-

+

-

-

+

=

-

e

e

s

 

Solving the above equations, we find



[image: image280.wmf]2

3

2

2

2

1

 W/m

5

.

811

    

,

 W/m

5188

   

,

 W/m

1587

=

=

=

J

J

J


Then the net rate of radiation heat transfers between the two surfaces and between the horizontal surface and the surroundings are determined to be



[image: image281.wmf] W

1245

=

-

-

=

-

-

=

-

=

2

2

2

1

12

1

12

21

W/m

)

5188

1587

)(

27

.

0

)(

m

 

28

.

1

(

)

(

J

J

F

A

Q

Q

&

&




[image: image282.wmf] W

725

=

-

=

-

=

2

2

3

1

13

1

13

W/m

)

5

.

811

1587

)(

73

.

0

)(

m

 

28

.

1

(

)

(

J

J

F

A

Q

&


15-87 Two long parallel cylinders are maintained at specified temperatures. The rates of radiation heat transfer between the cylinders and between the hot cylinder and the surroundings are to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are black. 3 Convection heat transfer is not considered.
Analysis We consider the hot cylinder to be surface 1, cold cylinder to be surface 2, and the surroundings to be surface 3. Using the crossed-strings method, the view factor between two cylinders facing each other is determined to be

   
[image: image283.wmf])

2

/

(

2

2

2

1

 

surface

on 

 

String

2

strings

 

Uncrossed

strings

 

Crossed

2

2

2

1

D

s

D

s

F

p

-

+

=

´

-

=

å

å

-


or   


[image: image284.wmf]444

.

0

)

20

.

0

(

5

.

0

20

.

0

3

.

0

2

2

2

2

2

2

2

1

=

÷

ø

ö

ç

è

æ

-

+

=

÷

ø

ö

ç

è

æ

-

+

=

-

p

p

D

s

D

s

F


The view factor between the hot cylinder and the surroundings is


[image: image285.wmf]556

.

0

444

.

0

1

1

12

13

=

-

=

-

=

F

F

(summation rule)

The rate of radiation heat transfer between the cylinders per meter length is


[image: image286.wmf]2

m

 

3142

.

0

2

/

m)

 

1

)(

m

 

20

.

0

(

2

/

=

=

=

p

p

DL

A



[image: image287.wmf] W

212.8

=

-

°

´

=

-

=

-

4

4

4

2

8

2

4

2

4

1

12

12

K

)

275

425

)(

C

.

 W/m

10

67

.

5

)(

444

.

0

)(

m

 

3142

.

0

(

)

(

T

T

AF

Q

s

&


Note that half of the surface area of the cylinder is used, which is the only area that faces the other cylinder. The rate of radiation heat transfer between the hot cylinder and the surroundings per meter length of the cylinder is



[image: image288.wmf]2

1

m

 

6283

.

0

m)

 

1

)(

m

 

20

.

0

(

=

=

=

p

p

DL

A


 
[image: image289.wmf] W

485.8

=

-

°

´

=

-

=

-

4

4

4

2

8

2

4

3

4

1

13

1

13

K

)

300

425

)(

C

.

 W/m

10

67

.

5

)(

556

.

0

)(

m

 

6283

.

0

(

)

(

T

T

F

A

Q

s

&


15-88 A long semi-cylindrical duct with specified temperature on the side surface is considered. The temperature of the base surface for a specified heat transfer rate is to be determined. 

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered.
Properties The emissivity of the side surface is ( = 0.4. 

Analysis We consider the base surface to be surface 1, the side surface to be surface 2. This system is a two-surface enclosure, and we consider a unit length of the duct. The surface areas and the view factor are determined as


[image: image290.wmf]2

2

2

1

m

 

571

.

1

2

/

m)

 

1

)(

m

 

0

.

1

(

2

/

m

 

0

.

1

)

m

 

0

.

1

)(

m

 

0

.

1

(

=

=

=

=

=

p

p

DL

A

A


   
[image: image291.wmf]1

1

0

1

12

12

12

11

=

¾

®

¾

=

+

¾

®

¾

=

+

F

F

F

F

  (summation rule)

The temperature of the base surface is determined from


[image: image292.wmf]K

 

684.8

=

-

+

-

×

´

=

-

+

-

=

-

1

2

2

4

4

1

4

2

8

2

2

2

12

1

4

2

4

1

12

)

4

.

0

)(

m

 

571

.

1

(

4

.

0

1

)

1

)(

m

 

0

.

1

(

1

]

K)

 

650

(

)[

 W/m

10

67

.

5

(

 W

1200

1

1

)

(

T

T

K

A

F

A

T

T

Q

e

e

s

&


15-89 A hemisphere with specified base and dome temperatures and heat transfer rate is considered. The emissivity of the dome is to be determined. 

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered.
Properties The emissivity of the base surface is ( = 0.55. 

Analysis We consider the base surface to be surface 1, the dome surface to be surface 2. This system is a two-surface enclosure. The surface areas and the view factor are determined as


[image: image293.wmf]2

2

2

2

2

2

2

1

m

 

0628

.

0

2

/

)

m

 

2

.

0

(

2

/

m

 

0314

.

0

4

/

)

m

 

2

.

0

(

4

/

=

=

=

=

=

=

p

p

p

p

D

A

D

A


     
[image: image294.wmf]1

1

0

1

12

12

12

11

=

¾

®

¾

=

+

¾

®

¾

=

+

F

F

F

F

  (summation rule)

The emissivity of the dome is determined from

 
[image: image295.wmf]0.21

=

¾

®

¾

-

+

+

-

-

×

´

-

=

-

+

+

-

-

-

=

-

=

-

2

2

2

2

2

2

4

4

4

2

8

2

2

2

12

1

1

1

1

4

2

4

1

12

21

)

m

 

0628

.

0

(

1

)

1

)(

m

 

0314

.

0

(

1

)

55

.

0

)(

m

 

0314

.

0

(

55

.

0

1

]

K)

 

600

(

K)

 

400

)[(

K

 W/m

10

67

.

5

(

 W

50

1

1

1

)

(

e

e

e

e

e

e

e

s

A

F

A

A

T

T

Q

Q

&

&


Review Problems

15-90 The variation of emissivity of an opaque surface at a specified temperature with wavelength is given. The average emissivity of the surface and its emissive power are to be determined.

Analysis The average emissivity of the surface can be determined from



[image: image296.wmf] 

)

1

(

+

)

(

+

)

(

2

1

2

1

3

2

1

l

l

l

l

e

e

e

e

f

f

f

f

T

-

-

=


where 
[image: image297.wmf]2

1

 

and

 

l

l

f

f

 are blackbody radiation functions corresponding to 
[image: image298.wmf]T

T

2

1

 

and

 

l

l

. These functions are determined from Table 15-2 to be 


[image: image299.wmf]890029

.

0

mK

 

9000

=

K)

 

m)(1500

 

6

(

273232

.

0

mK

 

3000

=

K)

 

m)(1500

 

2

(

2

1

2

1

=

¾

®

¾

=

=

¾

®

¾

=

λ

λ

f

T

f

T

m

m

l

m

m

l


and


[image: image300.wmf]0.5243

=

-

+

-

+

=

)

890029

.

0

1

)(

0

.

0

(

)

273232

.

0

890029

.

0

)(

85

.

0

(

)

273232

.

0

)(

0

.

0

(

e


Then the emissive flux of the surface becomes



[image: image301.wmf]2

 W/m

150,500

=

´

=

=

-

4

4

2

8

4

K)

 

1500

)(

K

.

 W/m

10

67

.

5

)(

5243

.

0

(

T

E

es


15-91 The variation of transmissivity of glass with wavelength is given. The transmissivity of the glass for solar radiation and for light are to be determined.

Analysis For solar radiation, T = 5800 K. The average transmissivity of the surface can be determined from



[image: image302.wmf])

1

(

+

)

(

+

)

(

2

1

2

1

3

2

1

l

l

l

l

t

t

t

t

f

f

f

f

T

-

-

=


where 
[image: image303.wmf]2

1

 

and

 

l

l

f

f

 are blackbody radiation functions corresponding to 
[image: image304.wmf]T

T

2

1

 

and

 

l

l

. These functions are determined from Table 15-2 to be 


[image: image305.wmf]966440

.

0

mK

 

14,500

=

K)

 

m)(5800

 

5

.

2

(

071852

.

0

mK

 

2030

=

K)

 

m)(5800

 

35

.

0

(

2

1

2

1

=

¾

®

¾

=

=

¾

®

¾

=

λ

λ

f

T

f

T

m

m

l

m

m

l


and


[image: image306.wmf]0.760

=

-

+

-

+

=

)

966440

.

0

1

)(

0

.

0

(

)

071852

.

0

966440

.

0

)(

85

.

0

(

)

071852

.

0

)(

0

.

0

(

t


For light, we take T = 300 K. Repeating the calculations at this temperature we obtain


[image: image307.wmf]000012

.

0

mK

 

750

=

K)

 

m)(300

 

5

.

2

(

00

.

0

mK

 

105

=

K)

 

m)(300

 

35

.

0

(

2

1

2

1

=

¾

®

¾

=

=

¾

®

¾

=

λ

λ

f

T

f

T

m

m

l

m

m

l



[image: image308.wmf]0.00001

=

-

+

-

+

=

)

000012

.

0

1

)(

0

.

0

(

)

00

.

0

000012

.

0

)(

85

.

0

(

)

00

.

0

)(

0

.

0

(

t


15-92 A hole is drilled in a spherical cavity. The maximum rate of radiation energy streaming through the hole is to be determined.

Analysis The maximum rate of radiation energy streaming through the hole is the blackbody radiation, and it can be determined from



[image: image309.wmf] W

0.144

=

´

=

=

-

4

4

2

8

2

4

K)

 

600

)(

K

.

 W/m

10

67

.

5

(

m)

 

0025

.

0

(

p

s

T

A

E


The result would not change for a different diameter of the cavity.

15-93 The variation of absorptivity of a surface with wavelength is given. The average absorptivity of the surface is to be determined for two source temperatures.

Analysis (a) T = 1000 K. The average absorptivity of the surface can be determined from


[image: image310.wmf] 

)

1

(

+

)

(

+

+

+

)

(

2

1

2

1

2

2

1

1

3

2

1

-

3

-

2

-

0

1

l

l

l

l

l

l

l

l

a

a

a

a

a

a

a

f

f

f

f

f

f

f

T

-

-

=

=

¥


where 
[image: image311.wmf]2

1

 

and

 

l

l

f

f

 are blackbody radiation functions corresponding to 
[image: image312.wmf]T

T

2

1

 

and

 

l

l

, determined from 

  
[image: image313.wmf]002134

.

0

mK

 

1200

=

K)

 

m)(1000

 

2

.

1

(

0

.

0

mK

 

300

=

K)

 

m)(1000

 

3

.

0

(

2

1

2

1

=

¾

®

¾

=

=

¾

®

¾

=

λ

λ

f

T

f

T

m

m

l

m

m

l


  
[image: image314.wmf].

1

 

since

 

 

and

 

0

 

since

 

2

2

1

1

0

0

1

0

=

-

=

=

=

-

=

¥

¥

¥

-

-

f

f

f

f

f

f

f

f

f

l

l

l

l

l


and,



[image: image315.wmf]0.0017

=

-

+

-

+

=

)

002134

.

0

1

)(

0

.

0

(

)

0

.

0

002134

.

0

)(

8

.

0

(

0

.

0

)

1

.

0

(

a


(a) T = 3000 K. 

  
[image: image316.wmf]403607

.

0

mK

 

3600

=

K)

 

m)(3000

 

2

.

1

(

000169

.

0

mK

 

900

=

K)

 

m)(3000

 

3

.

0

(

2

1

2

1

=

¾

®

¾

=

=

¾

®

¾

=

λ

λ

f

T

f

T

m

m

l

m

m

l


  

[image: image317.wmf]0.323

=

-

+

-

+

=

)

403607

.

0

1

)(

0

.

0

(

)

000169

.

0

403607

.

0

)(

8

.

0

(

000169

.

0

)

1

.

0

(

a


15-94 The variation of absorptivity of a surface with wavelength is given. The surface receives solar radiation at a specified rate. The solar absorptivity of the surface and the rate of absorption of solar radiation are to be determined.

Analysis  For solar radiation, T = 5800 K. The solar absorptivity of the surface is 


[image: image318.wmf]805713

.

0

mK

 

6960

=

K)

 

m)(5800

 

2

.

1

(

033454

.

0

mK

 

1740

=

K)

 

m)(5800

 

3

.

0

(

2

1

2

1

=

®

=

=

®

=

λ

λ

f

T

f

T

m

m

l

m

m

l


     
[image: image319.wmf]0.621

=

-

+

-

+

=

)

805713

.

0

1

)(

0

.

0

(

)

033454

.

0

805713

.

0

)(

8

.

0

(

033454

.

0

)

1

.

0

(

a


The rate of absorption of solar radiation is determined from

     
[image: image320.wmf]2

 W/m

292

=

=

=

)

 W/m

470

(

621

.

0

2

absorbed

I

E

a


15-95 The spectral transmissivity of a glass cover used in a solar collector is given. Solar radiation is incident on the collector. The solar flux incident on the absorber plate, the transmissivity of the glass cover for radiation emitted by the absorber plate, and the rate of heat transfer to the cooling water are to be determined.

Analysis (a) For solar radiation, T = 5800 K. The average transmissivity of the surface can be determined from

        
[image: image321.wmf])

1

(

+

)

(

+

)

(

2

1

2

1

3

2

1

l

l

l

l

t

t

t

t

f

f

f

f

T

-

-

=


where 
[image: image322.wmf]2

1

 

and

 

l

l

f

f

 are blackbody radiation functions corresponding to 
[image: image323.wmf]T

T

2

1

 

and

 

l

l

. These functions are determined from Table 15-2 to be 


[image: image324.wmf]978746

.

0

mK

 

17,400

=

K)

 

m)(5800

 

3

(

033454

.

0

mK

 

1740

=

K)

 

m)(5800

 

3

.

0

(

2

1

2

1

=

¾

®

¾

=

=

¾

®

¾

=

λ

λ

f

T

f

T

m

m

l

m

m

l


and



[image: image325.wmf]0.851

)

978746

.

0

1

)(

0

.

0

(

)

033454

.

0

978746

.

0

)(

9

.

0

(

)

033454

.

0

)(

0

.

0

(

=

-

+

-

+

=

t


Since the absorber plate is black, all of the radiation transmitted through the glass cover will be absorbed by the absorber plate and therefore, the solar flux incident on the absorber plate is same as the radiation absorbed by the absorber plate:



[image: image326.wmf]2

 W/m

808.5

=

=

=

)

 W/m

950

(

851

.

0

2

plate

 

abs.

I

E

t


(b) For radiation emitted by the absorber plate, we take T = 300 K, and calculate the transmissivity as follows:


[image: image327.wmf]000169

.

0

mK

 

900

=

K)

 

m)(300

 

3

(

0

.

0

mK

 

90

=

K)

 

m)(300

 

3

.

0

(

2

1

2

1

=

¾

®

¾

=

=

¾

®

¾

=

λ

λ

f

T

f

T

m

m

l

m

m

l



[image: image328.wmf]0.00015

=

-

+

-

+

=

)

000169

.

0

1

)(

0

.

0

(

)

0

.

0

000169

.

0

)(

9

.

0

(

)

0

.

0

)(

0

.

0

(

t


(c) The rate of heat transfer to the cooling water is the difference between the radiation absorbed by the absorber plate and the radiation emitted by the absorber plate, and it is determined from


[image: image329.wmf]2

 W/m

808.3

=

-

=

-

=

)

 W/m

950

)(

00015

.

0

851

.

0

(

)

(

2

room

solar

water

I

Q

t

t

&


15-96 The temperature of air in a duct is measured by a thermocouple. The radiation effect on the temperature measurement is to be quantified, and the actual air temperature is to be determined.

Assumptions The surfaces are opaque, diffuse, and gray. 
Properties The emissivity of thermocouple is given to be (=0.6. 

Analysis The actual temperature of the air can be determined from

 
[image: image330.wmf]K

 

1111

=

°

×

-

×

´

+

=

-

+

=

-

C

 W/m

60

]

)

K

 

500

(

)

K

 

850

)[(

K

 W/m

10

67

.

5

)(

6

.

0

(

K

 

850

)

(

2

4

4

4

2

8

4

4

h

T

T

T

T

w

th

th

th

f

s

e


15-97 Radiation heat transfer occurs between a tube-bank and a wall. The view factors, the net rate of radiation heat transfer, and the temperature of tube surface are to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 The tube wall thickness and convection from the outer surface are negligible.
Properties The emissivities of the wall and tube bank are given to be (i = 0.8 and (j = 0.9, respectively. 

Analysis (a) We take the wall to be surface i and the tube bank to be surface j. The view factor from surface i to surface j is determined from

[image: image331.wmf]0.658

=

ï

þ

ï

ý

ü

ï

î

ï

í

ì

ú

ú

û

ù

ê

ê

ë

é

-

÷

ø

ö

ç

è

æ

÷

ø

ö

ç

è

æ

+

ú

ú

û

ù

ê

ê

ë

é

÷

ø

ö

ç

è

æ

-

-

=

ï

þ

ï

ý

ü

ï

î

ï

í

ì

ú

ú

û

ù

ê

ê

ë

é

-

÷

ø

ö

ç

è

æ

÷

ø

ö

ç

è

æ

+

ú

ú

û

ù

ê

ê

ë

é

÷

ø

ö

ç

è

æ

-

-

=

-

-

5

.

0

2

1

5

.

0

2

5

.

0

2

1

5

.

0

2

1

5

.

1

3

tan

3

5

.

1

3

5

.

1

1

1

1

tan

1

1

D

s

s

D

s

D

F

ij


The view factor from surface j to surface i is determined from reciprocity relation. Taking s to be the width of the wall


[image: image332.wmf]0.419

=

=

=

=

=

¾

®

¾

=

)

658

.

0

(

)

5

.

1

(

3

p

p

p

ij

ij

ij

j

i

ji

ji

j

ij

i

F

D

s

F

DL

sL

F

A

A

F

F

A

F

A


(b) The net rate of radiation heat transfer between the surfaces can be determined from

  
[image: image333.wmf](

)

(

)

(

)

(

)

[

]

2

 W/m

57,900

=

÷

ø

ö

ç

è

æ

-

+

+

-

-

×

´

=

÷

÷

ø

ö

ç

ç

è

æ

-

+

+

-

-

=

÷

÷

ø

ö

ç

ç

è

æ

-

+

+

÷

÷

ø

ö

ç

ç

è

æ

-

-

=

-

)

m

 

015

.

0

(

)

m

 

03

.

0

(

9

.

0

9

.

0

1

658

.

0

1

8

.

0

8

.

0

1

K

 

333

K

 

1173

)

K

 W/m

10

67

.

5

(

1

1

1

1

1

1

1

1

4

4

4

2

8

4

4

4

4

p

e

e

e

e

s

e

e

e

e

s

j

i

j

j

ij

i

i

j

i

j

j

j

ij

i

i

i

i

j

i

A

A

F

T

T

A

F

A

A

T

T

q

&


(c) Under steady conditions, the rate of radiation heat transfer from the wall to the tube surface is equal to the rate of convection heat transfer from the tube wall to the fluid. Denoting Tw to be the wall temperature,



[image: image334.wmf](

)

(

)

[

]

[

]

)

K

 

273

40

(

m

 

03

.

0

)

m

 

015

.

0

(

)

K

 W/m

2000

(

)

m

 

015

.

0

(

)

m

 

03

.

0

(

9

.

0

9

.

0

1

658

.

0

1

8

.

0

8

.

0

1

K

 

1173

)

K

 W/m

10

67

.

5

(

)

(

1

1

1

2

4

4

4

2

8

4

4

+

-

ú

û

ù

ê

ë

é

×

=

÷

ø

ö

ç

è

æ

-

+

+

-

-

×

´

-

=

÷

÷

ø

ö

ç

ç

è

æ

-

+

+

-

-

=

-

w

w

j

w

j

j

i

j

j

ij

i

i

w

i

conv

rad

T

T

T

T

hA

A

A

F

T

T

q

q

p

p

e

e

e

e

s

&

&


Solving this equation by an equation solver such as EES, we obtain


Tw = 331.4 K = 58.4(C
15-98E A sealed electronic box is placed in a vacuum chamber. The highest temperature at which the surrounding surfaces must be kept if this box is cooled by radiation alone is to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered. 4 Heat transfer from the bottom surface of the box is negligible.
Properties The emissivity of the outer surface of the box is ( = 0.95. 

Analysis The total surface area is



[image: image335.wmf]2

ft

 

67

.

3

)

1

1

(

)

12

/

1

8

(

4

=

´

+

´

´

=

s

A


Then the temperature of the surrounding surfaces is determined to be

 
[image: image336.wmf]F

54

°

=

=

¾

®

¾

-

×

´

=

´

-

=

-

R

 

514

]

)

R

 

590

)[(

R

Btu/h.ft

 

10

1714

.

0

)(

ft

 

67

.

3

)(

95

.

0

(

Btu/h

 

)

41214

.

3

90

(

)

(

4

4

4

2

8

2

4

4

surr

surr

surr

s

s

rad

T

T

T

T

A

Q

s

e

&


15-99 A double-walled spherical tank is used to store iced water. The air space between the two walls is evacuated. The rate of heat transfer to the iced water and the amount of ice that melts a 24-h period are to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 
Properties The emissivities of both surfaces are given to be  (1 = (2 = 0.15. 

Analysis (a) Assuming the conduction resistance s of the walls to be negligible, the rate of heat transfer to the iced water in the tank is determined to be 

     
[image: image337.wmf]2

2

2

1

1

m

 

69

.

12

)

m

 

01

.

2

(

 

=

=

=

p

p

D

A

 

    
[image: image338.wmf] W

107.4

=

÷

ø

ö

ç

è

æ

-

+

+

-

+

×

´

=

÷

÷

ø

ö

ç

ç

è

æ

-

+

-

=

-

2

4

4

4

2

8

2

2

2

1

2

2

1

4

1

4

2

1

12

04

.

2

01

.

2

15

.

0

15

.

0

1

15

.

0

1

]

)

K

 

273

0

(

)

K

 

273

20

)[(

K

 W/m

10

67

.

5

)(

m

 

69

.

12

(

1

1

)

(

D

D

T

T

A

Q

e

e

e

s

&


(b) The amount of heat transfer during a 24-hour period is



[image: image339.wmf]kJ

 

9279

)

s

 

3600

24

)(

kJ/s

 

1074

.

0

(

=

´

=

D

=

t

Q

Q

&


The amount of ice that melts during this period then becomes


[image: image340.wmf]kg

 

27.8

=

=

=

¾

®

¾

=

kJ/kg

 

7

.

333

kJ

 

9279

if

if

h

Q

m

mh

Q


15-100 Two concentric spheres which are maintained at uniform temperatures are separated by air at 1 atm pressure. The rate of heat transfer between the two spheres by natural convection and radiation is to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Air is an ideal gas with constant properties.
Properties The emissivities of the surfaces are given to be (1 = (2 = 0.75. The properties of air at 1 atm and the average temperature of (T1+T2)/2 = (350+275)/2 = 312.5 K = 39.5(C are (Table A-22)



[image: image341.wmf]1

-

2

5

K

 

0032

.

0

K

 

5

.

312

1

7256

.

0

Pr

/s

m

 

10

697

.

1

C

 W/m.

02658

.

0

=

=

=

´

=

°

=

-

b

n

k


Analysis (a) Noting that Di = D1 and Do = D2 , the characteristic length is



[image: image342.wmf]m

 

0.05

m)

 

0.15

m

 

25

.

0

(

2

1

)

(

2

1

=

-

=

-

=

i

o

c

D

D

L


Then


[image: image343.wmf]5

2

2

5

3

-1

2

2

3

2

1

10

415

.

7

)

7256

.

0

(

)

/s

m

 

10

697

.

1

(

)

m

 

05

.

0

)(

K

 

275

350

)(

K

 

003200

.

0

)(

m/s

 

81

.

9

(

Pr

)

(

´

=

´

-

=

-

=

-

n

b

c

L

T

T

g

Ra

The effective thermal conductivity is

     
[image: image344.wmf][

]

[

]

005900

.

0

m)

 

25

.

0

(

m)

 

15

.

0

(

m)

 

25

.

0

(

m)

 

15

.

0

(

m

 

05

.

0

)

(

)

(

5

7/5

-

7/5

-

4

5

5

/

7

5

/

7

4

sph

=

+

=

+

=

-

-

o

i

o

i

c

D

D

D

D

L

F



[image: image345.wmf][

]

C

 W/m.

1315

.

0

)

10

415

.

7

)(

00590

.

0

(

7256

.

0

861

.

0

7256

.

0

C)

 W/m.

02658

.

0

(

74

.

0

)

(

Pr

861

.

0

Pr

74

.

0

4

/

1

5

4

/

1

4

/

1

4

/

1

eff

°

=

´

÷

ø

ö

ç

è

æ

+

°

=

÷

ø

ö

ç

è

æ

+

=

Ra

F

k

k

sph


Then the rate of heat transfer between the spheres becomes



[image: image346.wmf] W

23.2

=

-

ú

û

ù

ê

ë

é

°

=

-

÷

÷

ø

ö

ç

ç

è

æ

=

K

)

275

350

(

)

m

 

05

.

0

(

)

m

 

25

.

0

)(

m

 

15

.

0

(

)

C

 W/m.

1315

.

0

(

)

(

eff

p

p

o

i

c

o

i

T

T

L

D

D

k

Q

&


 (b) The rate of heat transfer by radiation is determined from

     
[image: image347.wmf] W

25.6

=

÷

ø

ö

ç

è

æ

-

+

-

×

´

=

÷

÷

ø

ö

ç

ç

è

æ

-

+

-

=

=

=

=

-

2

4

4

4

2

8

2

2

2

1

2

2

1

4

1

4

2

1

12

2

2

2

1

1

25

.

0

15

.

0

75

.

0

75

.

0

1

75

.

0

1

]

)

K

 

275

(

)

K

 

350

)[(

K

 W/m

10

67

.

5

)(

m

 

0707

.

0

(

1

1

)

(

m

 

0707

.

0

)

m

 

15

.

0

(

 

D

D

T

T

A

Q

D

A

e

e

e

s

p

p

&


15-101 A solar collector is considered. The absorber plate and the glass cover are maintained at uniform temperatures, and are separated by air. The rate of heat loss from the absorber plate by natural convection and radiation is to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Air is an ideal gas with constant properties.
Properties The emissivities of surfaces are given to be  (1 = 0.9 for glass and (2 = 0.8 for the absorber plate. The properties of air at 1 atm and the average temperature of (T1+T2)/2 = (80+32)/2 = 56(C are (Table A-22)

        
[image: image348.wmf]1

-

2

5

K

 

003040

.

0

K

)

273

56

(

1

1

7212

.

0

Pr

/s

m

 

10

857

.

1

C

 W/m.

02779

.

0

=

+

=

=

=

´

=

°

=

-

f

T

k

b

n


Analysis For 
[image: image349.wmf]°

=

0

q

, we have horizontal rectangular enclosure. The characteristic length in this case is the distance between the two glasses Lc = L = 0.03 m Then,



[image: image350.wmf]4

2

2

5

3

-1

2

2

3

2

1

10

083

.

8

)

7212

.

0

(

)

/s

m

 

10

857

.

1

(

)

m

 

03

.

0

)(

K

 

32

80

)(

K

 

00304

.

0

)(

m/s

 

81

.

9

(

Pr

)

(

´

=

´

-

=

-

=

-

n

b

L

T

T

g

Ra




[image: image351.wmf]2

m

 

5

.

4

m)

 

3

(

m)

 

5

.

1

(

=

=

´

=

W

H

A

s



[image: image352.wmf][

]

[

]

747

.

3

1

18

)

20

cos(

)

10

083

.

8

(

)

20

cos(

)

10

083

.

8

(

)

20

8

.

1

sin(

1708

1

)

20

cos(

)

10

083

.

8

(

1708

1

44

.

1

1

1

18

)

cos

Ra

(

cos

Ra

)

8

.

1

(sin

1708

1

cos

Ra

1708

1

44

.

1

1

Nu

3

/

1

4

4

6

.

1

4

3

/

1

6

.

1

=

ú

ú

û

ù

ê

ê

ë

é

-

´

+

ú

ú

û

ù

ê

ê

ë

é

´

´

-

ú

ú

û

ù

ê

ê

ë

é

´

-

+

=

ú

ú

û

ù

ê

ê

ë

é

-

+

ú

ú

û

ù

ê

ê

ë

é

-

ú

û

ù

ê

ë

é

-

+

=

+

+

+

+

q

q

q

q



[image: image353.wmf] W

750

=

°

-

°

=

-

=

m

 

03

.

0

C

)

32

80

(

)

m

 

5

.

4

)(

747

.

3

)(

C

 W/m.

02779

.

0

(

2

2

1

L

T

T

kNuA

Q

s

&


Neglecting the end effects, the rate of heat transfer by radiation is determined from

    
[image: image354.wmf] W

1289

=

-

+

+

-

+

×

´

=

-

+

-

=

-

1

9

.

0

1

8

.

0

1

]

)

K

 

273

32

(

)

K

 

273

80

)[(

K

 W/m

10

67

.

5

)(

m

 

5

.

4

(

1

1

1

)

(

4

4

4

2

8

2

2

1

4

2

4

1

rad

e

e

s

T

T

A

Q

s

&


Discussion The rates of heat loss by natural convection for the horizontal and vertical cases would be as follows (Note that the Ra number remains the same):

Horizontal: 

   
[image: image355.wmf]812

.

3

1

18

)

10

083

.

8

(

10

083

.

8

1708

1

44

.

1

1

1

18

Ra

Ra

1708

1

44

.

1

1

Nu

3

/

1

4

4

3

/

1

=

ú

ú

û

ù

ê

ê

ë

é

-

´

+

ú

û

ù

ê

ë

é

´

-

+

=

ú

ú

û

ù

ê

ê

ë

é

-

+

ú

û

ù

ê

ë

é

-

+

=

+

+

+

+


     
[image: image356.wmf] W

1017

=

°

-

°

=

-

=

m

 

03

.

0

C

)

32

80

(

)

m

 

6

)(

812

.

3

)(

C

 W/m.

02779

.

0

(

2

2

1

L

T

T

kNuA

Q

s

&


Vertical:  



[image: image357.wmf]001

.

2

m

 

03

.

0

m

 

2

)

7212

.

0

(

)

10

083

.

8

(

42

.

0

Pr

42

.

0

3

.

0

012

.

0

4

/

1

4

3

.

0

012

.

0

4

/

1

=

÷

ø

ö

ç

è

æ

´

=

÷

ø

ö

ç

è

æ

=

-

-

L

H

Ra

Nu




[image: image358.wmf] W

534

=

°

-

°

=

-

=

m

 

03

.

0

C

)

32

80

(

)

m

 

6

)(

001

.

2

)(

C

 W/m.

02779

.

0

(

2

2

1

L

T

T

kNuA

Q

s

&


15-102E CD EES The circulating pump of a solar collector that consists of a horizontal tube and its glass cover fails. The equilibrium temperature of the tube is to be determined.

Assumptions 1 Steady operating conditions exist. 2 The tube and its cover are isothermal. 3 Air is an ideal gas. 4 The surfaces are opaque, diffuse, and gray for infrared radiation. 5 The glass cover is transparent to solar radiation.
Properties  The properties of air should be evaluated at the average temperature. But we do not know the exit temperature of the air in the duct, and thus we cannot determine the bulk fluid and glass cover temperatures at this point, and thus we cannot evaluate the average temperatures. Therefore, we will assume the glass temperature to be 85(F, and use properties at an anticipated average temperature of (75+85)/2 =80°F (Table A-22E),


[image: image359.wmf]s

k

/

ft

 

10

1.697

F

ft

Btu/h

  

01481

.

0

2

4

-

´

=

°

×

×

=

n



[image: image360.wmf]R

 

540

1

1

7290

.

0

Pr

ave

=

=

=

T

b


Analysis We have a horizontal cylindrical enclosure filled with air at 0.5 atm pressure. The problem involves heat transfer from the aluminum tube to the glass cover and from the outer surface of the glass cover to the surrounding ambient air. When steady operation is reached, these two heat transfer rates must equal the rate of heat gain. That is,


[image: image361.wmf]Btu/h

 

30

gain

solar 

ambient

-

glass

glass

-

tube

=

=

=

Q

Q

Q

&

&

&

     (per foot of tube)

The heat transfer surface area of the glass cover is



[image: image362.wmf]2

ft

 

309

.

1

ft)

 

1

)(

ft

 

12

/

5

(

)

(

=

=

=

=

p

p

W

D

A

A

o

glass

o

  (per foot of tube)
To determine the Rayleigh number, we need to know the surface temperature of the glass, which is not available. Therefore, solution will require a trial-and-error approach. Assuming the glass cover temperature to be 85°F, the Rayleigh number, the Nusselt number, the convection heat transfer coefficient, and the rate of natural convection heat transfer from the glass cover to the ambient air are determined to be


[image: image363.wmf]6

2

2

4

3

2

2

3

10

092

.

1

)

7290

.

0

(

)

/s

ft

 

10

697

.

1

(

)

ft

 

12

/

5

)(

R

 

75

85

](

R)

 

540

/(

1

)[

ft/s

 

2

.

32

(

Pr

)

(

Ra

´

=

´

-

=

-

=

-

¥

n

b

o

o

Do

D

T

T

g



[image: image364.wmf](

)

[

]

(

)

[

]

95

.

14

7290

.

0

/

559

.

0

1

)

10

092

.

1

(

387

.

0

6

.

0

Pr

/

559

.

0

1

Ra

 

387

.

0

6

.

0

Nu

2

27

/

8

16

/

9

6

/

1

6

2

27

/

8

16

/

9

1/6

D

=

ï

þ

ï

ý

ü

ï

î

ï

í

ì

+

´

+

=

ï

þ

ï

ý

ü

ï

î

ï

í

ì

+

+

=



[image: image365.wmf]F

ft

Btu/h

  

5315

.

0

)

95

.

14

(

ft

 

12

/

5

F

ft

Btu/h

 

01481

.

0

Nu

2

0

°

×

×

=

°

×

×

=

=

D

k

h

o



[image: image366.wmf]Btu/h

 

96

.

6

 

F

)

75

85

)(

ft

 

309

.

1

)(

F

ft

Btu/h

 

5315

.

0

(

)

(

2

2

conv

,

=

°

-

°

×

×

=

-

=

¥

T

T

A

h

Q

o

o

o

o

&


Also,


[image: image367.wmf][

]

Btu/h

 

5

.

30

       

R)

 

520

(

R)

 

545

(

)

ft

 

309

.

1

)(

R

ft

Btu/h

 

10

1714

.

0

)(

9

.

0

(

)

(

4

4

2

4

2

8

4

sky

4

rad

,

=

-

×

×

´

=

-

=

-

T

T

A

Q

o

o

o

o

s

e

&


Then the total rate of heat loss from the glass cover becomes


[image: image368.wmf]Btu/h

  

5

.

37

5

.

30

0

.

7

rad

,

conv

,

total

,

=

+

=

+

=

o

o

o

Q

Q

Q

&

&

&


which is more than 30 Btu/h. Therefore, the assumed temperature of 85°F for the glass cover is high. Repeating the calculations with lower temperatures (including the evaluation of properties), the glass cover temperature corresponding to 30 Btu/h is determined to be 81.5°F.
The temperature of the aluminum tube is determined in a similar manner using the natural convection and radiation relations for two horizontal concentric cylinders. The characteristic length in this case is the distance between the two cylinders, which is 

 

[image: image369.wmf]ft

 

1.25/12

in

 

25

.

1

2

/

)

5

.

2

5

(

2

/

)

(

=

=

-

=

-

=

i

o

c

D

D

L


Also,



[image: image370.wmf]2

ft

  

6545

.

0

ft)

 

1

)(

ft

 

12

/

5

.

2

(

)

(

=

=

=

=

p

p

W

D

A

A

i

tube

i

  (per foot of tube)
We start the calculations by assuming the tube temperature to be 118.5°F, and thus an average temperature of (81.5+118.5)/2 = 100(F=560 R. Using properties at 100(F,

    
[image: image371.wmf]4

2

2

4

3

2

2

3

10

334

.

1

)

726

.

0

(

]

5

.

0

/

)

/s

ft

 

10

809

.

1

[(

)

ft

 

12

/

25

.

1

)(

R

 

5

.

81

5

.

118

](

R)

 

560

/(

1

)[

ft/s

 

2

.

32

(

Pr

)

(

Ra

´

=

´

-

=

-

=

-

n

b

L

T

T

g

o

i

L


The effective thermal conductivity is


[image: image372.wmf]1466

.

0

]

ft)

 

12

/

5

(

ft)

 

12

/

5

.

2

[(

ft)

 

(1.25/12

)]

5

.

2

/

5

[ln(

)

(

)]

/

[ln(

5

3/5

-

3/5

-

3

4

5

5

/

3

5

/

3

3

4

cyc

=

+

=

+

=

-

-

o

i

c

i

o

D

D

L

D

D

F



[image: image373.wmf]F

ft

Btu/h

 

03227

.

0

)

10

334

.

1

1466

.

0

(

0.726

0.861

0.726

F)

ft

Btu/h

 

01529

.

0

(

386

.

0

)

Ra

(

Pr

861

.

0

Pr

386

.

0

4

/

1

4

4

/

1

cyc

4

/

1

eff

°

×

×

=

´

´

÷

ø

ö

ç

è

æ

+

°

×

×

=

÷

ø

ö

ç

è

æ

+

=

L

F

k

k


 Then the rate of heat transfer between the cylinders by convection becomes

[image: image374.wmf]Btu/h

 

8

.

10

F

)

5

.

81

5

.

118

(

ln(5/2.5)

F)

ft

Btu/h

 

03227

.

0

(

2

)

(

)

/

ln(

2

eff

conv

 

,

=

°

-

°

×

×

=

-

=

p

p

o

i

i

o

i

T

T

D

D

k

Q

&


Also,


[image: image375.wmf][

]

Btu/h

 

0

.

25

in

 

5

in

 

5

.

2

9

.

0

9

.

0

1

9

.

0

1

R)

 

5

.

541

(

R)

  

5

.

578

(

)

ft

 

6545

.

0

)(

R

ft

Btu/h

 

10

1714

.

0

(

1

1

)

(

4

4

2

4

2

8

i

4

o

4

rad

,

=

÷

ø

ö

ç

è

æ

-

+

-

×

×

´

=

÷

÷

ø

ö

ç

ç

è

æ

-

+

-

=

-

o

i

o

o

i

i

i

D

D

T

T

A

Q

e

e

e

s

&


Then the total rate of heat loss from the glass cover becomes


[image: image376.wmf]Btu/h

 

8

.

35

0

.

25

8

.

10

rad

,

conv

,

total

,

=

+

=

+

=

i

i

i

Q

Q

Q

&

&

&


which is more than 30 Btu/h. Therefore, the assumed temperature of 118.5°F for the tube is high. By trying other values, the tube temperature corresponding to 30 Btu/h is determined to be 113°F. Therefore, the tube will reach an equilibrium temperature of 113°F when the pump fails.

15-103 A double-pane window consists of two sheets of glass separated by an air space. The rates of heat transfer through the window by natural convection and radiation are to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Air is an ideal gas with constant specific heats. 4 Heat transfer through the window is one-dimensional and the edge effects are negligible.
Properties The emissivities of glass surfaces are given to be  (1 = (2 = 0.9.  The properties of air at 0.3 atm and the average temperature of (T1+T2)/2 = (15+5)/2 = 10(C are (Table A-22)



[image: image377.wmf]1

-

2

5

5

1

K

 

003534

.

0

K

 

)

273

10

(

1

7336

.

0

Pr

/s

m

 

10

753

.

4

/0.3

10

426

.

1

3

.

0

/

C

 W/m.

02439

.

0

=

+

=

=

´

=

´

=

=

°

=

-

-

b

n

n

atm

k


Analysis The characteristic length in this case is the distance between the glasses, 
[image: image378.wmf]m

 

03

.

0

=

=

L

L

c




[image: image379.wmf]3040

)

7336

.

0

(

)

/s

m

 

10

753

.

4

(

)

m

 

03

.

0

(

K

)

5

15

)(

K

 

003534

.

0

)(

m/s

 

81

.

9

(

Pr

)

(

2

2

5

3

-1

2

2

3

2

1

=

´

-

=

-

=

-

n

b

L

T

T

g

Ra




[image: image380.wmf]971

.

0

05

.

0

2

)

3040

(

197

.

0

197

.

0

9

/

1

4

/

1

9

/

1

4

/

1

=

÷

ø

ö

ç

è

æ

=

÷

ø

ö

ç

è

æ

=

-

-

L

H

Ra

Nu


Note that heat transfer through the air space is less than that by pure conduction as a result of partial evacuation of the space. Then the rate of heat transfer through the air space becomes



[image: image381.wmf]2

m

 

10

)

m

 

5

)(

m

 

2

(

=

=

s

A




[image: image382.wmf] W

78.9

=

°

-

°

=

-

=

m

 

03

.

0

C

)

5

15

(

)

m

 

10

)(

971

.

0

)(

C

 W/m.

02439

.

0

(

2

2

1

L

T

T

kNuA

Q

s

conv

&


The rate of heat transfer by radiation is determined from

    
[image: image383.wmf](

)

(

)

 W

421

=

-

+

+

-

+

×

´

=

-

+

-

=

-

1

9

.

0

1

9

.

0

1

]

K

 

273

5

K

 

273

15

)[

K

 W/m

10

67

.

5

)(

m

 

10

(

1

1

1

)

(

4

4

4

2

8

2

2

1

4

2

4

1

rad

e

e

s

T

T

A

Q

s

&


Then the rate of total heat transfer becomes



[image: image384.wmf] W

500

=

+

=

+

=

421

79

rad

conv

total

Q

Q

Q

&

&

&


Discussion Note that heat transfer through the window is mostly by radiation. 

15-104 CD EES A simple solar collector is built by placing a clear plastic tube around a garden hose. The rate of heat loss from the water in the hose by natural convection and radiation is to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Air is an ideal gas with constant specific heats.
Properties The emissivities of surfaces are given to be  (1 = (2 = 0.9.   The properties of air are at 1 atm and the film temperature of (Ts+T()/2 = (40+25)/2 = 32.5(C are (Table A-22)



[image: image385.wmf]1

-

2

5

K

 

003273

.

0

K

 

)

273

5

.

32

(

1

7275

.

0

Pr

/s

m

 

10

632

.

1

C

 W/m.

02607

.

0

=

+

=

=

´

=

°

=

-

b

n

k


Analysis Under steady conditions, the heat transfer rate from the water in the hose equals to the rate of heat loss from the clear plastic tube to the surroundings by natural convection and radiation.  The characteristic length in this case is the diameter of the plastic tube, 
[image: image386.wmf]m

 

06

.

0

2

=

=

=

D

D

L

plastic

c

.


[image: image387.wmf]5

2

2

5

3

-1

2

2

3

2

10

842

.

2

)

7275

.

0

(

)

/s

m

 

10

632

.

1

(

)

m

 

06

.

0

(

K

)

25

40

)(

K

 

003273

.

0

)(

m/s

 

81

.

9

(

Pr

)

(

´

=

´

-

=

-

=

-

¥

n

b

D

T

T

g

Ra

s



[image: image388.wmf](

)

[

]

(

)

[

]

30

.

10

7241

.

0

/

559

.

0

1

)

10

842

.

2

(

387

.

0

6

.

0

Pr

/

559

.

0

1

Ra

 

387

.

0

6

.

0

Nu

2

27

/

8

16

/

9

6

/

1

5

2

27

/

8

16

/

9

1/6

D

=

ï

þ

ï

ý

ü

ï

î

ï

í

ì

+

´

+

=

ï

þ

ï

ý

ü

ï

î

ï

í

ì

+

+

=


       
[image: image389.wmf]2

2

2

2

2

m

 

1885

.

0

m)

 

m)(1

 

06

.

0

(

C

.

 W/m

475

.

4

)

30

.

10

(

m

 

06

.

0

C

 W/m.

02607

.

0

=

=

=

=

°

=

°

=

=

p

p

L

D

A

A

Nu

D

k

h

plastic


Then the rate of heat transfer from the outer surface by natural convection becomes



[image: image390.wmf] W

12.7

=

°

-

°

=

-

=

¥

C

)

25

40

)(

m

 

1885

.

0

)(

C

.

 W/m

475

.

4

(

)

(

2

2

2

T

T

hA

Q

s

conv

&


The rate of heat transfer by radiation from the outer surface is determined from



[image: image391.wmf] W

26.1

=

+

-

+

×

´

=

-

=

-

]

K)

 

273

15

(

)

K

 

273

40

)[(

K

 W/m

10

67

.

5

)(

m

 

1885

.

0

)(

90

.

0

(

)

(

4

4

4

2

8

2

4

4

2

rad

sky

s

T

T

A

Q

s

e

&


Finally,



[image: image392.wmf] W

8

.

38

1

.

26

7

.

12

,

=

+

=

loss

total

Q

&


Discussion Note that heat transfer is mostly by radiation. 

15-105 A solar collector consists of a horizontal copper tube enclosed in a concentric thin glass tube. The annular space between the copper and the glass tubes is filled with air at 1 atm. The rate of heat loss from the collector by natural convection and radiation is to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and  gray. 3 Air is an ideal gas with constant specific heats.
Properties The emissivities of surfaces are given to be  (1 = 0.85 for the tube surface and (2 = 0.9 for glass cover. The properties of air at 1 atm and the average temperature of (T1+T2)/2 = (60+40)/2 = 50(C are (Table A-22)



[image: image393.wmf]1

-

2

5

K

 

003096

.

0

K

 

)

273

50

(

1

7228

.

0

Pr

/s

m

 

10

798

.

1

C

 W/m.

02735

.

0

=

+

=

=

´

=

°

=

-

b

n

k


Analysis The characteristic length in this case is



[image: image394.wmf]m

 

0.07

=

m)

 

0.05

-

m

 

12

.

0

(

2

1

)

(

2

1

1

2

=

-

=

D

D

L

c




[image: image395.wmf]4

2

2

5

3

-1

2

2

3

2

1

10

823

.

5

)

7228

.

0

(

)

/s

m

 

10

798

.

1

(

)

m

 

035

.

0

(

K

)

40

60

)(

K

 

003096

.

0

)(

m/s

 

81

.

9

(

Pr

)

(

´

=

´

-

=

-

=

-

n

b

c

L

T

T

g

Ra


The effective thermal conductivity is



[image: image396.wmf][

]

[

]

[

]

1678

.

0

m)

 

12

.

0

(

m)

 

05

.

0

(

m)

 

035

.

0

(

)

05

.

0

/

12

.

0

ln(

)

(

)

/

ln(

5

3/5

-

3/5

-

3

4

5

5

/

3

5

/

3

3

4

cyl

=

+

=

+

=

-

-

o

i

c

i

o

D

D

L

D

D

F



[image: image397.wmf][

]

C

 W/m.

08626

.

0

)

10

823

.

5

)(

1678

.

0

(

7228

.

0

861

.

0

7228

.

0

)

C

 W/m.

02735

.

0

(

386

.

0

)

Ra

(

Pr

861

.

0

Pr

386

.

0

4

/

1

4

4

/

1

4

/

1

cyl

4

/

1

eff

°

=

´

÷

ø

ö

ç

è

æ

+

°

=

÷

ø

ö

ç

è

æ

+

=

F

k

k


Then the rate of heat transfer between the cylinders becomes



[image: image398.wmf] W

12.4

=

°

-

°

=

-

=

C

)

40

60

(

)

05

.

0

/

12

.

0

ln(

)

C

 W/m.

08626

.

0

(

2

)

(

)

/

ln(

2

eff

conv

p

p

o

i

i

o

T

T

D

D

k

Q

&


The rate of heat transfer by radiation is determined from

      
[image: image399.wmf][

]

 W

19.7

=

÷

ø

ö

ç

è

æ

-

+

+

-

+

×

´

=

÷

÷

ø

ö

ç

ç

è

æ

-

+

-

=

-

12

5

9

.

0

9

.

0

1

85

.

0

1

]

)

K

 

273

40

(

)

K

 

273

60

)[(

K

 W/m

10

67

.

5

(

m)

 

m)(1

 

05

.

0

(

1

1

)

(

4

4

4

2

8

2

1

2

2

1

4

2

4

1

1

rad

p

e

e

e

s

D

D

T

T

A

Q

&


Finally,



[image: image400.wmf] W

1

.

32

7

.

19

4

.

12

,

=

+

=

loss

total

Q

&

   (per m length)

15-106 A cylindrical furnace with specified top and bottom surface temperatures and specified heat transfer rate at the bottom surface is considered. The temperature of the side surface and the net rates of heat transfer between the top and the bottom surfaces, and between the bottom and the side surfaces are to be determined. 

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered.
Properties The emissivities of the top, bottom, and side surfaces are 0.70, 0.50, and 0.40, respectively. 

Analysis We consider the top surface to be surface 1, the bottom surface to be surface 2, and the side surface to be surface 3. This system is a three-surface enclosure. The view factor from surface 1 to surface 2 is determined from



[image: image401.wmf]17

.

0

5

.

0

2

.

1

6

.

0

2

6

.

0

2

.

1

12

=

ï

ï

þ

ï

ï

ý

ü

=

=

=

=

F

L

r

r

L


(Fig. 15-7)

The surface areas are 



[image: image402.wmf]2

3

2

2

2

2

1

m

 

524

.

4

)

m

 

2

.

1

)(

m

 

2

.

1

(

m

 

131

.

1

4

/

)

m

 

2

.

1

(

4

/

=

=

=

=

=

=

=

p

p

p

p

DL

A

D

A

A


Then other view factors are determined to be 


[image: image403.wmf]17

.

0

21

12

=

=

F

F





[image: image404.wmf]83

.

0

1

17

.

0

0

1

13

13

13

12

11

=

¾

®

¾

=

+

+

¾

®

¾

=

+

+

F

F

F

F

F

  (summation rule),

[image: image405.wmf]83

.

0

13

23

=

=

F

F






[image: image406.wmf]21

.

0

)

524

.

4

(

)

83

.

0

)(

131

.

1

(

31

31

31

3

13

1

=

¾

®

¾

=

¾

®

¾

=

F

F

F

A

F

A

  (reciprocity rule), 

[image: image407.wmf]21

.

0

31

32

=

=

F

F


We now apply Eq. 15-35 to each surface

Surface 1:

[image: image408.wmf][

]

[

]

)

(

83

.

0

)

(

17

.

0

70

.

0

70

.

0

1

)

K

 

500

)(

K

.

 W/m

10

67

.

5

(

)

(

)

(

1

        

3

1

2

1

1

4

4

2

8

3

1

13

2

1

12

1

1

1

4

1

J

J

J

J

J

J

J

F

J

J

F

J

T

-

+

-

-

+

=

´

-

+

-

-

+

=

-

e

e

s

 

Surface 2:

[image: image409.wmf][

]

[

]

)

(

83

.

0

)

(

17

.

0

50

.

0

50

.

0

1

)

K

 

500

)(

K

.

 W/m

10

67

.

5

(

)

(

)

(

1

        

3

2

1

2

2

4

4

2

8

3

2

23

1

2

21

2

2

2

4

2

J

J

J

J

J

J

J

F

J

J

F

J

T

-

+

-

-

+

=

´

-

+

-

-

+

=

-

e

e

s

 

Surface 3:

[image: image410.wmf][

]

[

]

)

(

21

.

0

)

(

21

.

0

40

.

0

40

.

0

1

)

K

.

 W/m

10

67

.

5

(

)

(

)

(

1

        

2

3

1

3

3

4

3

4

2

8

2

3

32

1

3

31

3

3

3

4

3

J

J

J

J

J

T

J

J

F

J

J

F

J

T

-

+

-

-

+

=

´

-

+

-

-

+

=

-

e

e

s

 

We now apply Eq. 15-34 to surface 2



[image: image411.wmf][

]

[

]

)

(

83

.

0

)

(

17

.

0

)

m

 

131

.

1

(

)

(

)

(

3

2

1

2

2

3

2

23

1

2

21

2

2

J

J

J

J

J

J

F

J

J

F

A

Q

-

+

-

=

-

+

-

=

&


Solving the above four equations, we find



[image: image412.wmf]2

3

2

2

2

1

3

 W/m

8193

    

,

 W/m

8883

   

,

 W/m

4974

   

,

=

=

=

=

J

J

J

T

K

 

631


The rate of heat transfer between the bottom and the top surface is



[image: image413.wmf] W

751.6

=

-

=

-

=

2

2

1

2

21

2

21

W/m

)

4974

8883

)(

17

.

0

)(

m

 

131

.

1

(

)

(

J

J

F

A

Q

&


The rate of heat transfer between the bottom and the side surface is



[image: image414.wmf] W

648.0

=

-

=

-

=

2

2

3

2

23

2

23

W/m

)

8193

8883

)(

83

.

0

)(

m

 

131

.

1

(

)

(

J

J

F

A

Q

&


Discussion The sum of these two heat transfer rates are 751.6 + 644 = 1395.6 W, which is practically equal to 1400 W heat supply rate from surface 2. This must be satisfied to maintain the surfaces at the specified temperatures under steady operation. Note that the difference is due to round-off error.  

15-107 A cylindrical furnace with specified top and bottom surface temperatures and specified heat transfer rate at the bottom surface is considered. The emissivity of the top surface and the net rates of heat transfer between the top and the bottom surfaces, and between the bottom and the side surfaces are to be determined. 

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered.
Properties The emissivity of the bottom surface is 0.90. 

Analysis We consider the top surface to be surface 1, the base surface to be surface 2, and the side surface to be surface 3. This system is a three-surface enclosure. The view factor from the base to the top surface of the cube is from Fig. 15-5
[image: image415.wmf]2

.

0

12

=

F

. The view factor from the base or the top to the side surfaces is determined by applying the summation rule to be





since the base surface is flat and thus 
[image: image416.wmf]0

11

=

F

. Other view factors are

   
[image: image417.wmf]20

.

0

          

,

80

.

0

          

,

20

.

0

32

31

13

23

12

21

=

=

=

=

=

=

F

F

F

F

F

F


We now apply Eq. 9-35 to each surface

Surface 1:

[image: image418.wmf][

]

[

]

)

(

80

.

0

)

(

20

.

0

1

)

K

 

700

)(

K

.

 W/m

10

67

.

5

(

)

(

)

(

1

        

3

1

2

1

1

1

1

4

4

2

8

3

1

13

2

1

12

1

1

1

4

1

J

J

J

J

J

J

J

F

J

J

F

J

T

-

+

-

-

+

=

´

-

+

-

-

+

=

-

e

e

e

e

s

 

Surface 2:

[image: image419.wmf][

]

[

]

)

(

80

.

0

)

(

20

.

0

90

.

0

90

.

0

1

)

K

 

950

)(

K

.

 W/m

10

67

.

5

(

)

(

)

(

1

        

3

2

1

2

2

4

4

2

8

3

2

23

1

2

21

2

2

2

4

2

J

J

J

J

J

J

J

F

J

J

F

J

T

-

+

-

-

+

=

´

-

+

-

-

+

=

-

e

e

s

 

Surface 3:

[image: image420.wmf]3

4

4

2

8

3

4

3

)

K

 

450

)(

K

.

 W/m

10

67

.

5

(

        

J

J

T

=

´

=

-

s

 

We now apply Eq. 9-34 to surface 2



[image: image421.wmf][

]

[

]

)

(

80

.

0

)

(

20

.

0

)

m

 

9

(

)

(

)

(

3

2

1

2

2

3

2

23

1

2

21

2

2

J

J

J

J

J

J

F

J

J

F

A

Q

-

+

-

=

-

+

-

=

&


Solving the above four equations, we find



[image: image422.wmf]2

3

2

2

2

1

1

 W/m

2325

    

,

 W/m

985

,

41

   

,

 W/m

736

,

11

   

,

=

=

=

=

J

J

J

0.44

e


The rate of heat transfer between the bottom and the top surface is



[image: image423.wmf]2

2

2

1

m

 

9

)

m

 

3

(

=

=

=

A

A




[image: image424.wmf]kW

 

54.4

=

-

=

-

=

2

2

1

2

21

2

21

W/m

)

736

,

11

985

,

41

)(

20

.

0

)(

m

 

9

(

)

(

J

J

F

A

Q

&


The rate of heat transfer between the bottom and the side surface is



[image: image425.wmf]2

2

1

3

m

 

36

)

m

 

9

(

4

4

=

=

=

A

A




[image: image426.wmf]kW

  

285.6

=

-

=

-

=

2

2

3

2

23

2

23

W/m

)

2325

985

,

41

)(

8

.

0

)(

m

 

9

(

)

(

J

J

F

A

Q

&


Discussion The sum of these two heat transfer rates are 54.4 + 285.6 = 340 kW, which is equal to 340 kW heat supply rate from surface 2.  

15-108 Radiation heat transfer occurs between two square parallel plates. The view factors, the rate of radiation heat transfer and the temperature of a third plate to be inserted are to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered.
Properties The emissivities of plate a, b, and c are given to be (a = 0.8, (b = 0.4, and (c = 0.1, respectively. 

Analysis (a) The view factor from surface a to surface b is determined as follows


[image: image427.wmf][

]

[

]

[

]

[

]

0.592

=

þ

ý

ü

î

í

ì

+

-

-

+

+

=

þ

ý

ü

î

í

ì

+

-

-

+

+

=

=

=

=

=

=

=

5

.

0

2

5

.

0

2

5

.

0

2

5

.

0

2

4

)

5

.

0

5

.

1

(

4

)

5

.

0

5

.

1

(

)

5

.

0

(

2

1

4

)

(

4

)

(

2

1

5

.

1

40

60

  

,

5

.

0

40

20

A

B

A

B

A

F

L

b

B

L

a

A

ab

The view factor from surface b to surface a is determined from reciprocity relation:

   
[image: image428.wmf]0.0658

=

¾

®

¾

=

=

=

=

=

=

ba

ba

ba

b

ab

a

b

a

F

F

F

A

F

A

A

A

)

36

.

0

(

)

592

.

0

)(

04

.

0

(

m

 

36

.

0

)

m

 

6

.

0

)(

m

 

6

.

0

(

m

 

04

.

0

)

m

 

2

.

0

)(

m

 

2

.

0

(

2

2


(b) The net rate of radiation heat transfer between the surfaces can be determined from

         
[image: image429.wmf](

)

(

)

(

)

[

]

 W

1374

=

-

+

+

-

-

×

´

=

-

+

+

-

-

=

-

)

4

.

0

)(

m

 

36

.

0

(

4

.

0

1

)

592

.

0

)(

m

 

04

.

0

(

1

)

8

.

0

)(

m

 

04

.

0

(

8

.

0

1

K

 

473

K

 

1073

)

K

 W/m

10

67

.

5

(

1

1

1

2

2

2

4

4

4

2

8

4

4

b

b

b

ab

a

a

a

a

b

a

ab

A

F

A

A

T

T

Q

e

e

e

e

s

&


(c) In this case we have 

 
[image: image430.wmf][

]

[

]

[

]

[

]

0.981

4

)

5

.

0

10

(

4

)

5

.

0

10

(

)

5

.

0

(

2

1

4

)

(

4

)

(

2

1

10

m

 

2

.

0

m

 

0

.

2

  

,

1

m

 

2

.

0

m

 

2

.

0

5

.

0

2

5

.

0

2

5

.

0

2

5

.

0

2

=

þ

ý

ü

î

í

ì

+

-

-

+

+

=

þ

ý

ü

î

í

ì

+

-

-

+

+

=

=

=

=

=

=

=

A

C

A

C

A

F

L

c

C

L

a

A

ac




[image: image431.wmf][

]

[

]

[

]

[

]

0.979

4

)

3

10

(

4

)

3

10

(

)

3

(

2

1

4

)

(

4

)

(

2

1

10

m

 

2

.

0

m

 

0

.

2

   

,

3

m

 

2

.

0

m

 

6

.

0

5

.

0

2

5

.

0

2

5

.

0

2

5

.

0

2

=

þ

ý

ü

î

í

ì

+

-

-

+

+

=

þ

ý

ü

î

í

ì

+

-

-

+

+

=

=

=

=

=

=

=

B

C

B

C

A

F

L

c

C

L

b

B

bc




[image: image432.wmf]0.0881

)

0

.

4

(

)

979

.

0

)(

36

.

0

(

=

¾

®

¾

=

=

ba

cb

cb

c

bc

b

F

F

F

A

F

A


An energy balance gives

  
[image: image433.wmf](

)

(

)

)

4

.

0

)(

m

 

36

.

0

(

4

.

0

1

)

0881

.

0

)(

m

 

4

(

1

)

1

.

0

)(

m

 

4

(

1

.

0

1

)

K

 

473

(

)

1

.

0

)(

m

 

4

(

1

.

0

1

)

981

.

0

)(

m

 

04

.

0

(

1

)

8

.

0

)(

m

 

04

.

0

(

8

.

0

1

)

K

 

1073

(

1

1

1

1

1

1

2

2

2

4

4

2

2

2

4

4

4

4

4

4

-

+

+

-

-

=

-

+

+

-

-

-

+

+

-

-

=

-

+

+

-

-

=

c

c

b

b

b

cb

c

c

c

c

b

c

c

c

c

ac

a

a

a

a

c

a

cb

ac

T

T

A

F

A

A

T

T

A

F

A

A

T

T

Q

Q

e

e

e

e

s

e

e

e

e

s

&

&


Solving the equation with an equation solver such as EES, we obtain  Tc = 754 K = 481(C
15-109 Radiation heat transfer occurs between two concentric disks. The view factors and the net rate of radiation heat transfer for two cases are to be determined.

Assumptions 1 Steady operating conditions exist 2 The surfaces are opaque, diffuse, and gray. 3 Convection heat transfer is not considered.
Properties The emissivities of disk 1 and 2 are given to be (a = 0.6 and (b = 0.8, respectively. 

Analysis (a) The view factor from surface 1 to surface 2 is determined using Fig. 15-7 as



[image: image434.wmf]0.19

=

¾

®

¾

=

=

=

=

12

2

1

1

10

.

0

10

.

0

    

,

5

.

0

20

.

0

10

.

0

F

L

r

r

L


Using reciprocity rule,



[image: image435.wmf]0.76

=

=

=

=

=

=

=

)

19

.

0

(

m

 

0314

.

0

m

 

1257

.

0

m

 

0314

.

0

)

m

 

1

.

0

(

m

 

1257

.

0

)

m

 

2

.

0

(

2

2

12

2

1

21

2

2

2

2

2

1

F

A

A

F

A

A

p

p


(b) The net rate of radiation heat transfer between the surfaces can be determined from

   
[image: image436.wmf](

)

(

)

(

)

[

]

 W

1250

=

-

+

+

-

-

×

´

=

-

+

+

-

-

=

-

)

8

.

0

)(

m

 

0314

.

0

(

8

.

0

1

)

19

.

0

)(

m

 

1257

.

0

(

1

)

6

.

0

)(

m

 

1257

.

0

(

6

.

0

1

K

 

573

K

 

1073

)

K

 W/m

10

67

.

5

(

1

1

1

2

2

2

4

4

4

2

8

2

2

2

12

1

1

1

1

4

2

4

1

e

e

e

e

s

A

F

A

A

T

T

Q

&


(c) When the space between the disks is completely surrounded by a refractory surface, the net rate of radiation heat transfer can be determined from



[image: image437.wmf](

)

(

)

(

)

[

]

 W

1510

=

÷

ø

ö

ç

è

æ

-

+

÷

ø

ö

ç

è

æ

-

+

-

-

+

-

×

´

=

÷

÷

ø

ö

ç

ç

è

æ

-

+

÷

÷

ø

ö

ç

ç

è

æ

-

+

-

-

+

-

=

-

1

8

.

0

1

0314

.

0

1257

.

0

1

6

.

0

1

)

19

.

0

)(

1257

.

0

(

0314

.

0

)

19

.

0

)(

1257

.

0

(

2

0314

.

0

1257

.

0

K

 

573

K

 

1073

)

K

 W/m

10

67

.

5

)(

m

 

1257

.

0

(

1

1

1

1

2

2

4

4

4

2

8

2

2

2

1

1

2

12

1

2

12

1

2

1

4

2

4

1

1

e

e

s

A

A

F

A

A

F

A

A

A

T

T

A

Q

&


Discussion The rate of heat transfer in part (c) is 21 percent higher than that in part (b). 

15-110 ….. 15-113 Design and Essay Problems

((
Power lines





Microwave oven





T = 750 K





20 cm





20 cm





20 cm





SUN


T = 10,400 R





T = 3200 K





T = ?





T = ?





(, (m





 L = 2 m








Glass


( = 0.9





((





 


0.95








0.35





SUN





 3








(, (m





D1 = 0.35 m 


T1 = 950 K


(1 = 1





 2








((





D2 = 0.5 m 


T2 = 500 K


(2 = 0.55





D = 5 m





T2 = 1000 K


(2 = 1





T1 = 400 K


(1 = 0.7





h =2 m








T3 = 500 K


(3 = 1








T2 = 1400 K


(2 = 1


r2 = 2 m








T1 = 700 K


(1 = 1


r1 = 2 m








T1 = 600 K


(1 = 0.5





T2 = 400 K


(2 = 0.9





   T3 = 2400 R


    (3 = 1





(, (m





 6








T2 = 1600 R


(2 = 1





((





T1 = 800 R


(1 = 0.7





h





0.7





0.4


0.3








r2





r1





2 m





2 m





2 m





1 m





T1 = 500 K


(1 = 0.45





T2 = 380 K


(2 = ?





(2)





(2)





s





(surr)





D





s





 3








 


0.7

















((





(, (m





 1








 


0.5











0.15

















((





(, (m





 3








 0.8








 0.2








 0.1








 0.9








 


0.9








0.15





((





(, (m





 5








 


0.7








0.2





((





(, (m





 2








Ball


T=950 R





D = 5 in





 


0.92














((





(, (m





 0.3








 3








(1)





D





D





s





(1)





(2)





D





D





(3)





1 m





1 m





1 m





(4)


(2)





(1)





1 m








2 m





2 m





(4)





(2)





1 m


1 m





1 m








1 m





(1)





(3)





3 m





(4)





1 m





(2)





1 m





1 m





1 m





(1)





(3)





3 m





(1)





 D2       D1





(2)





(3)





(2)     (1) 





h





D





d





(2)





(3), (4), (5), (6)


side surfaces





(1)





   (4)





(1)





a





 


 b                                            b


          (2)                       (3)





(2)





b                             b





a





(3)          (1)





D 





(2)





(1)





L1 = a





L2 = a





L3 = b                                     L4 = b


                                  L6


                   L5                





      b





      a





(3)         (2)





(1)





D 





(2)





(1)





D 





(2)





(1)





D=2r





L=2D=4r





(1)





(3)





(2)





(1)





A2





A1





A3     (3)





 L3 = 1 m





L2 = 1 m








L1 = 1 m





(2)





W = 3 m





7





6





8





5





4





10





12





11





9





3





1





2





3





5





4





1





2





8





7





1





2





3





4





5





6





 Vacuum





D2 = 0.1 m 


T2 = 200 K


(2 = 0.95





D1 = 0.01 m 


T1 = 500 K


(1 = ?





 Vacuum





T1 = 550 R


(1 = 0.5





T2 = 1800 R


(2 = 0.9





D = 15 ft





Disk 1, T1 = 450 K, (1 = 1





Disk 2, T2 = 450 K, (2 = 1





0.40 m





Environment


T3 =300 K


(1 = 1





D = 0.6 m





q1 = 800 W/m2


(1 = 0.8





T2 = 500 K


(2 = 0.5





b = 2 m





T2 = 550 K


(2 = 1





T1 = 1100 K


(1 = 1





Reradiating side surfacess





 a = 4 m





D2 = 0.4 m 


T2 = 500 K


(2 = 0.7





D1 = 0.3 m 


T1 = 700 K


(1 = 0.5

















Tsurr =30(C 


T( = 30(C








( = 0.35





Cube, a =3 m 


T2 = 240 K


(2 = 0.8





D1 = 2 m 


T1 = 100 K


(1 = 0.1





 Vacuum





Liquid


N2





D2 = 3 m 


T2 = 240 K


(2 = 0.8





D1 = 2 m 


T1 = 100 K


(1 = 0.1





 Vacuum





Liquid


N2





Steaks, T2 = 278 K, (2 = 1





Coal bricks, T1 = 950 K, (1 = 1





0.20 m





T2 = 65(F


(2 = 0.8





Ceiling: 12 ft ( 12 ft





T1 = 90(F


(1 = 1





Insulated side surfacess





9 ft





W = 1.6 m





(2)





L2 = 1.2 m





 L1 = 0.8 m





A1     (1)





A2





T3 = 290 K


(3 = 0.85





T2 = 550 K


(2 = 1





T1 =400 K


(1 =0.75





(3)





D





D





(2)





(1)





s





T3 = 300 K


(3 = 1





T2 = 275 K


(2 = 1





T1 = 425 K


(1 = 1





(3)





T1 = ?


(1 = 1





T2 = 650 K


(2 = 0.4





D = 1 m





T1 = 400 K


(1 = 0.55





T2 = 600 K


(2 = ?





D = 0.2 m





((





(, (m





 2








 6








0.85




















   0





((





(, (m





 0.35








 2.5








0.85




















   0





((





(, (m





 0.3








 1.2








0.8














0.1


   0








((





(, (m





 0.3








 1.2








0.8














0.1


   0








((





(, (m





  0.3








   3








0.9




















   0





Air, Tf 





Tw = 500 K





Thermocouple


Tth = 850 K


( = 0.6























Tsurr 





8 in





90 W


( = 0.95


Ts = 130(F








12 in





12 in





D2 = 25 cm 


T2 = 275 K


(2 = 0.75





D1 = 15 cm 


T1 = 350 K


(1 = 0.75





 Lc =5 cm





 AIR


1 atm





Solar radiation





 ( = 20(





 Insulation





Absorber plate


T1 = 80(C


(1 = 0.8 





Glass cover,


T2 = 32(C


(2 = 0.9





1.5 m





 L = 3 cm














 D2 =5 in








Aluminum tube


D1 =2.5 in, T1 


(1 = 0.9





Air space


0.5 atm





Plastic cover, 


(2 = 0.9, T2  





Water





T( = 75(F


Tsky = 60(F





30 Btu/h.ft





 5(C





 15(C





 L = 3 cm





 H = 2 m





� EMBED Equation  ���





 Air














 D2 =6 cm











Garden hose


D1 =2 cm, T1 


(1 = 0.9





Air space





Plastic cover, 


(2 = 0.9, T2 =40(C 





Water





T( = 25(C


Tsky = 15(C














 D2=12 cm











Copper tube


D1 =5 cm, T1 = 60(C


(1 = 0.85





Air space





Plastic cover, 


T2 = 40(C


(2 = 0.9





Water





T1 = 500 K


(1 = 0.70


r1 = 0.6 m








T3 = ?


(3 = 0.40








h = 1.2 m








T2 = 650 K


(2 = 0.50


r2 = 0.6 m








T1 = 700 K


(1 = ?





T2 = 950 K


(2 = 0.90





T3 = 450 K


(3 = 1





3 m





a





b





L





a





b





2





1





L








576
PROPRIETARY MATERIAL. © 2008 The McGraw-Hill Companies, Inc.  Limited distribution permitted only to teachers and educators for course preparation.  If you are a student using this Manual, you are using it without permission.

_1195111460

_1195114380

_1195145698.unknown

_1197302953

_1197556479

_1197558462

_1197564758.unknown

_1197566098.unknown

_1197566533

_1197566878

_1197567157.unknown

_1197572234

_1198787592.unknown

_1197567177

_1197567460

_1197567031

_1197567146.unknown

_1197567016

_1197566564.unknown

_1197566851

_1197566550

_1197566412

_1197566417

_1197566314

_1197565228

_1197565302.unknown

_1197565872.unknown

_1197565292.unknown

_1197565174

_1197565219.unknown

_1197565168

_1197559207

_1197559343.unknown

_1197564661

_1197559342.unknown

_1197558870

_1197559147

_1197559175

_1197559062

_1197558475

_1197558835

_1197557355

_1197557859

_1197558228.unknown

_1197558442

_1197557892

_1197557603

_1197557701

_1197557391

_1197556986.unknown

_1197557037

_1197557341

_1197557013

_1197556819.unknown

_1197556883.unknown

_1197556682.unknown

_1197303282

_1197303887

_1197304056

_1197305093

_1197305097

_1197304078

_1197304031

_1197303378

_1197303497

_1197303656

_1197303369

_1197303115

_1197303229

_1197303242

_1197303174

_1197303056

_1197303097

_1197303002

_1195145920

_1195146206

_1195146239

_1195146319

_1195146333

_1195146339

_1195148565

_1195152152.unknown

_1195152190.unknown

_1195146547.unknown

_1195146550.unknown

_1195146536.unknown

_1195146336

_1195146326

_1195146329

_1195146323

_1195146304

_1195146313

_1195146316

_1195146309

_1195146247

_1195146291

_1195146243

_1195146220

_1195146228

_1195146231

_1195146223

_1195146213

_1195146217

_1195146210

_1195145993

_1195146096

_1195146118

_1195146197

_1195146100

_1195146068

_1195146075

_1195145999

_1195145970

_1195145982

_1195145990

_1195145979

_1195145928

_1195145966

_1195145924

_1195145777.unknown

_1195145813.unknown

_1195145909

_1195145916

_1195145894

_1195145790.unknown

_1195145803.unknown

_1195145780.unknown

_1195145729

_1195145763.unknown

_1195145766.unknown

_1195145746.unknown

_1195145718

_1195145725

_1195145705.unknown

_1195115086

_1195145229

_1195145561

_1195145587

_1195145599

_1195145686.unknown

_1195145596

_1195145569

_1195145581

_1195145565

_1195145532

_1195145550

_1195145558

_1195145545

_1195145354.unknown

_1195145381

_1195145523

_1195145370

_1195145351

_1195115414

_1195144891

_1195145158

_1195145224

_1195144895

_1195115417

_1195144887.unknown

_1195115416

_1195115106

_1195115308

_1195115413

_1195115412.unknown

_1195115154

_1195115162

_1195115098

_1195115102

_1195115090

_1195114891

_1195115053

_1195115072

_1195115078

_1195115082

_1195115075

_1195115064

_1195115068

_1195115060

_1195114930

_1195115041

_1195115045

_1195114949

_1195114953

_1195114940

_1195114923

_1195114927

_1195114894

_1195114671

_1195114877

_1195114883

_1195114887

_1195114880

_1195114870.unknown

_1195114874.unknown

_1195114868

_1195114424

_1195114518

_1195114635

_1195114430

_1195114387

_1195114393

_1195114384

_1195111885

_1195112149

_1195112443

_1195112713

_1195114283

_1195114376

_1195114255

_1195112542

_1195112656

_1195112507

_1195112227

_1195112429

_1195112438

_1195112425

_1195112159

_1195112165

_1195112154

_1195112085.unknown

_1195112126

_1195112136

_1195112140

_1195112131

_1195112113

_1195112116

_1195112090

_1195112034.unknown

_1195112079

_1195112082.unknown

_1195112047.unknown

_1195111922

_1195112021

_1195111913

_1195111665

_1195111718

_1195111735

_1195111836

_1195111882

_1195111832

_1195111726

_1195111731

_1195111722

_1195111680

_1195111702

_1195111715

_1195111696

_1195111672

_1195111676

_1195111668

_1195111605

_1195111646

_1195111652

_1195111656

_1195111649

_1195111615

_1195111619

_1195111610

_1195111531

_1195111573

_1195111576

_1195111568

_1195111473

_1195111477

_1195111468

_1195069268

_1195110611

_1195110985

_1195111188

_1195111442

_1195111452

_1195111456

_1195111449

_1195111432

_1195111439

_1195111427

_1195111157

_1195111178

_1195111183

_1195111174

_1195111088

_1195111152

_1195111086

_1195110833

_1195110930.unknown

_1195110937

_1195110940

_1195110934

_1195110867

_1195110926.unknown

_1195110837

_1195110631

_1195110665

_1195110668

_1195110657

_1195110621

_1195110626

_1195110616

_1195069483

_1195071426

_1195071542

_1195071610

_1195071671

_1195071694

_1195110602

_1195110607

_1195071707

_1195072639.unknown

_1195071703

_1195071686

_1195071690

_1195071677

_1195071662

_1195071667

_1195071613

_1195071571

_1195071593

_1195071598

_1195071583

_1195071550

_1195071555

_1195071568

_1195071545

_1195071484

_1195071529

_1195071536

_1195071494

_1195071508

_1195071476

_1195071480

_1195071470

_1195069637

_1195069714

_1195071411

_1195071422

_1195071397

_1195069712

_1195069713

_1195069703

_1195069711

_1195069695

_1195069616

_1195069629

_1195069632

_1195069621

_1195069540

_1195069609

_1195069488

_1195069395

_1195069460

_1195069471

_1195069476

_1195069468

_1195069413

_1195069417

_1195069399

_1195069354.unknown

_1195069386

_1195069391

_1195069379

_1195069343

_1195069351

_1195069318

_1195068319

_1195069063

_1195069200

_1195069237

_1195069257

_1195069263

_1195069253

_1195069220

_1195069228

_1195069206

_1195069118

_1195069135

_1195069138

_1195069130

_1195069100

_1195069113

_1195069094

_1195068421

_1195069029

_1195069053

_1195069058

_1195069035

_1195068434

_1195069024

_1195068431

_1195068393

_1195068413

_1195068417

_1195068409

_1195068333

_1195068390

_1195068324

_1195067580

_1195067718

_1195068139

_1195068275

_1195068284

_1195068142

_1195067738

_1195068136

_1195067733

_1195067637

_1195067649

_1195067698

_1195067646

_1195067594

_1195067617

_1195067589

_1195067468

_1195067558

_1195067570

_1195067575

_1195067566

_1195067496

_1195067505

_1195067551

_1195067493

_905804937

_1195067448

_1195067458.unknown

_1195067462.unknown

_1195067455.unknown

_1020948854

_1195067364

_1195067369

_1195067353

_1184180772.unknown

_905870091

_1018265090

_1015925199

_905868427

_901524512

_901524605

_901566083

_901566455

_901565257

_901524518

_901524049

_901524182

_901524030

