Photon Counting

Follow the Teachspin labscripts.

Perform double slit measurements using both the laser source with the photodiode, as well as the lamp source using the photomultiplier in photon counting mode.

Document the performance of the photomultiplier tube:  find the zone of optimal signal to noise ratio. Talk to your instructor for hints on how to do this.